COLUMBIA RIVER AT BEAVER ARMY TERMINAL, OR                COMPILED: July 17, 1998 AL

Revised: July 19, 1998 SWM

STATION LOCATION: River Mile 53.8 on the left bank from August 1967 and on the right bank after February 1994.

DATA SOURCE: USGS, Oregon District, Portland, OR

BEGINNING DATA: Aug. 9, 1967             		ENDING DATE: Aug. 28, 1997       UNITS: Celsius

DATA DESCRIPTION: Daily maximum and minimum values during the 1967-70 water years and maximum, minimum, and mean during the 1993-97 water years; total of about 2,920 records.

TITLE OF FILE: cr_beaver1.dat, cr_beaver2.dat                                  STATION NUMBER: 14246900

COMPLETENESS OF RECORD:

STARTING           ENDING                          COMMENTS		SUSPICIOUS RECORD

8/9/67  --------------- 3/30/68 		daily record

4/5/68  -------------- 12/31/68       		daily record

1/7/69 ---------------- 6/26/69        		daily record

7/15/69  -------------- 11/3/69		daily record

11/11/69  ----------- 12/31/70		daily record

10/31/92  ------------ 7/27/94		daily record

9/28/94  ------------ 11/26/94 		daily record

12/9/94  ------------ 11/28/95		daily record

1/11/96  ------------- 8/28/97		daily record

VARIABILITY:

Daily variability is usually about 0.5oC and up to 1.0oC during the heating and cooling season.  Data are reported to the nearest 0.5oC. From 1967-69, the data were rounded to the nearest degree Fahrenheit and because of this, they are stepped.

BIAS:

There are no record comparisons to indicate a general bias or not, however, the data appears to have no bias. Data collection was switched from the left bank to the right bank in February 1994 to get a more representative conductivity measurement. The move to a different position in the river cross section made no apparent shift in temperature measurement.

MONITORING SITE REPRESENTATIVE OF CROSS SECTION:

Part of the USGS protocol was to insure the data were representative of the cross section.

GENERAL COMMENTS:

This record is probably one of the best of the tidal-affected Columbia River, and although not complete, it represents the period from 1967 to 1997. Daily mean values can be estimated by averaging the minimum and maximum values where the daily mean values are not available.