COLUMBIA RIVER AT CAMAS, TDG  			DATE COMPILED: June 7, 1998 SWM

Revised: July 16, 1998 AL

STATION LOCATION: River mile 122.0 at Port of Camas/Washougal Marina dock on the right bank. The sensor is 15 ft below the water surface.

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by the Portland District

BEGINNING DATA: June 22, 1993	ENDING DATA: Sept. 19, 1997	UNITS: Celsius

DATA DESCRIPTION: Hourly values, usually 24 values per day, total 23,319 values.  Daily data file includes daily maximum, minimum, mean, and variability for the day, total 1,084 records.

TITLE OF FILE: Daily: cwmw_tdg93-97d.xls			STATION CODE: CWMW

Hourly: cwmw_tdg93-97.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS		SUSPICIOUS RECORD

6/22/93  ---------- 9/26/93		24 values per day

3/28/94  ---------- 11/3/94		24 values per day		9/30-11/3/94 biased 2 to 4oC high

3/7/95  ------------ 8/31/95		24 values per day

9/28/95  ------------ 1/8/96		24 values per day

3/8/96  ------------ 9/20/96		24 values per day

3/7/97  ------------ 9/19/97		24 values per day

VARIABILITY:

Daily variability about the daily mean is between 0.1 and 1.5oC during 1993 through 95 and reduces to 0.1 through 1.0oC during 1996 and 97.  This high variability appears to be result of having similar daily minimum values as sites in the cross section but much higher daily maximum values, resulting in biased high daily mean values.

BIAS:

Due to the high daily variability listed above, much of the record is biased high between 0.3 and 1.3 oC relative to the mean of the cross section.

REPRESENTATIVE OF CROSS SECTION:

During May and July 1995, June and July 96 and July 97, continuous record from within the river channel showed the CWMW record to be biased high between 0.3 to 1.3 oC.  These cross sectional measurements often show similar daily minimum values but much higher daily maximum minimum values.

GENERAL COMMENTS:

This record at this site is estimated to have a daily variability about the mean of less than  +1.0oC and to be biased high during the months of June through July between 0.3 and 1.3 oC.  One possible explanation for the larger-than-normal maximum values is the probe during the 1993 through 95 period may be that the probe was at much shallower depths than 15 feet and was sensitive to the diel variability resulting from surface heating.