JOHN DAY TDG TAILRACE 			 	    DATE COMPILED: July 15, 1998 AL

Revised: July 17, 1998 SWM

STATION LOCATION: at river mile 214.5, downstream 1.1 miles from dam on right bank. Sensor is at a minimum 15-foot depth below water surface.

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by the Portland District

BEGINNING DATA: March 16, 1995	ENDING DATA: Sept. 17, 1997	UNITS: Celsius

DATA DESCRIPTION: Hourly values, usually 24 values per day, total of 13,251 values.  Daily data file includes maximum, minimum, mean and variability for the day, total 555 records.

TITLE OF FILE: Daily: jhaw_tdg95-97d.xls			STATION CODE: JHAW

Hourly: jhaw_tdg95-97.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS			SUSPICIOUS RECORD

3/16/95  ---------- 10/3/95		generally 24 values per day

3/29/96  ---------- 9/18/96		generally 24 values per day

3/26/97  ----------	9/17/97		generally 24 values per day

VARIABILITY:

Variability is between 0.1 and 0.4oC most of the time. This record is much less variable than the forebay record.

BIAS:

The record appears to be unbiased.

REPRESENTATIVE OF CROSS SECTION:

This record appears representative of the river temperature cross section. It does not have the problem of the forebay where temperatures are often 1-2oC higher. Generally the bias between this record and the Gas Abatement Study data in May through August 1996 and 97 is between -0.5 and +0.5 oC.  This record should be preferable to the Forebay record during the June through September months

GENERAL COMMENTS:

The record is short and collected seasonally from March to September. It is a good record estimated to be within +0.5oC of the mean for the cross section.