LOWER MONUMENTAL DAM TDG FOREBAY          		COMPILED: July 31, 1998 SWM

Revised:  July 31, 1998 AL

STATION LOCATION: River mile 41.6 in center of dam and between the spillway and the powerhouse

SOURCE OF DATA: US Army Corps of Engineers Pacific Division Office, data collected by Walla Walla District Office.

BEGINNING DATA: May 30, 1988                  ENDING DATA: Sept. 30, 1996           UNITS: Celsius

DATA DESCRIPTION: Hourly values, usually 6 times per day for 1988 through 90 and 24 hourly values in 91 through 96; total of about 22,000 values.  Daily minimum, maximum, mean, and variability statistics are available; total 1,346 records.

TITLE OF FILE: Hourly: lmn_tdg88-92.xls, lmn_tdg93-96.xls		STATION CODE: LMN

Daily: lmn_tdg88-92d.xls

COMPLETENESS OF RECORD:

START               END                      	COMMENTS		SUSPICIOUS RECORD

5/30/88  ------------- 9/19/88		hourly and daily values	1984-87 data missing

4/8/89  -------------- 5/28/89		hourly and daily values

6/12/89  ------------- 9/12/89		hourly and daily values

4/24/90  ------------- 9/11/90		hourly and daily values

4/11/91  ------------- 11/5/91		hourly and daily values

2/28/92  -------------- 3/8/92		hourly and daily values    most of 92 data missing

4/16/93  ------------- 9/28/93		hourly and daily values

4/1/94  -------------- 9/28/94		hourly and daily values

4/10/95  -------------- 6/3/95		hourly and daily values

6/8/95  -------------- 9/26/95		hourly and daily values

4/4/96  -------------- 9/30/96		hourly and daily values 	5/6-5/31/96 biased 2oC low

1997 data missing

VARIABILITY:

Daily variability about the daily mean is usually between .2 and 1.0 but can be over 1.0oC.  When the variability is greater than about 0.7oC, it is likely that it is the result of high values that may not be representative of the cross section and may result in a daily mean value being biased high.  Daily variability during May 1996 was 2 to 3 times greater than measured by the Gas Assessment Study.

BIAS:

When there is high hourly variability, it can result in variable daily means and/or daily mean values biased high by 1.0oC or more.  The record appeared to be biased low 1.8oC when compared to the May 1996 Gas Assessment Study data.  The record appeared to be biased high 3.0oC when compared to the June 1995 cross sectional measurements. Record correlation with tailrace data show the forebay record to be biased high from 0.5-1oC most of the time.

REPRESENTATIVE OF CROSS SECTION:

The cross sectional measurements in 1995 showed the cross section to be mixed within 0.2oC and should be representative of the river except when conditions are biased or there is high variability. Record correlation with tailrace data show the forebay record to be biased high from 0.5-1oC most of the time.

GENERAL COMMENTS: