MCNARY DAM TDG TAILRACE			 DATE COMPILED: July 15, 1998 AL

Revised:  July 17, 1998 SWM

STATION LOCATION: River mile 290.6, downstream of McNary Dam 1.4 miles on right bank. Sensor is at a minimum 15 feet depth below water surface.

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by the Walla Walla District

BEGINNING DATA: April 26, 1995	ENDING DATA: Dec. 31, 1997	UNITS: Celsius

DATA DESCRIPTION: Hourly values collected, usually including 24 values per day, total about 17,769 values.  Daily data file includes daily maximum, minimum, mean, and variability for the day, total 778 values.

TITLE OF FILE: Daily: mcpw_tdg 95-97d.xls			STATION CODE: MCW

Hourly: 	mcpw_tdg 95-97.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS		SUSPICIOUS RECORD

4/26/95  ---------- 9/27/95		24 values per day

4/1/96  ----------- 11/8/96		24 values per day

12/2/96  -------- 12/11/96		24 values per day

1/1/97  ----------- 1/29/97		24 values per day

2/11/97  --------  2/28/97		24 values per day

3/7/97  --------- 12/31/97		24 values per day

VARIABILITY:

Variability is between 0.1 and 0.4oC most of the time. This record is much less variable than the forebay record.

BIAS:

The record appears to have no bias.

REPRESENTATIVE OF CROSS SECTION:

This record appears to be representative of the whole river and does not have the problems that exist with the forebay records.

GENERAL COMMENTS:

The record is estimated to be within +0.5oC of the mean for the cross section and looks good throughout.