PRIEST RAPIDS SCROLL CASE				DATA COMPILED: April 2, 1998 SWM

Revised: May 27,1998 AL

STATION LOCATION: at river mile 397.1 on left side of dam.

BEGINNING DATA: April 2, 1980	ENDING DATE: Nov. 16, 1997	UNITS: Celsius

DATA DESCRIPTION: Instantaneous daily with some intervening days estimated; total of about 2,733 values

TITLE OF FILE: prd_scr80-97.xls		STATION CODE: PRD

COMPLETENESS OF RECORD:

START			END		COMMENTS		Suspicious Record

4/2/80 ------------------- 11/16/80		daily record

missing 1981-82 data

10/2/83 -------------------- 1/5/84		daily record

4/2/84  ------------------ 11/20/84		daily record

4/2/85 --------------------- 12/1/85		daily record

3/2/86 --------------------- 12/1/86		daily record

2/1/87  -------------------- 12/1/88		scattered values

4/17/89  ----------------- 11/16/89		daily record

4/17/90 ------------------- 6/15/90		scattered values

6/19/90 ------------------ 11/16/90		daily record

4/17/91  ----------------- 11/16/91		daily record		9/20/91 to 10/16/91

4/19/92 ------------------ 11/16/92		daily record

4/16/93 ------------------- 6/20/93		daily record

4/16/94 ------------------- 5/22/94		daily record

4/15/95 ------------------ 11/15/95		daily record		1995 year biased low

4/15/96 ------------------ 11/16/96		daily record		4/15/96 to 7/15/96 biased high

4/15/97 ------------------ 11/15/97		daily record		7/15/96 to 11/15/96 biased low

VARIABILITY:

A limited ver stepped record is available in 1980. For the 1995-96 record, the variability is higher than expected.

BIAS:

Values equal to 0 oC, multiples of adjacent values, and negative values have been removed.  Additional review needed.

MONITORING SITE REPRESENTATIVE OF CROSS SECTION:

Pacific States Marine Fisheries Council (PSMFC) has data for 1966 that showed variability at the forebay mid site, perhaps being caused by measurements at different depths, with a maximum difference of 2.0 oC greater than the lowest values.  Tailrace spill temperatures were a little (median of 0.2 oC) higher than the lowest values at Forebay mid.  PSMFC 1967 data showed no bias between forebay mid and forebay gatewell sites.  PSMFC 1968 data showed no bias between tailrace spill and forebay mid sites.  PSMFC 1970 data showed the forebay gatewell site to be biased high over half of the time when compared with the tailrace spill site; median and maximum bias was 0.5 and 2.0 oC.  PSMFC 1971 data showed no bias between tailrace spill and forebay gatewell sites and between tailrace powerhouse and forebay mid sites.  PSMFC 1972 data showed no consistent bias between forebay 2, forebay 9, tailrace, and tailrace powerhouse sites.

GENERAL COMMENTS:

The data are collected at a depth of 30-40 feet in the scroll case of unit #4 in the middle of the powerhouse.