ROCK ISLAND SCROLL CASE				DATA COMPILED: May 26, 1998 AL

Revised:

STATION LOCATION: at river mile 453.8, center of dam

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by Chelan PUD

BEGINNING DATA: April 19, 1980             ENDING DATE: Nov. 14, 1997        UNITS: Celsius

DATA DESCRIPTION: Instantaneous daily with some intervening days estimated and some days with more than one value; total of about 1970 values

TITLE OF FILE: ris_scr80-97.xls			STATION CODE: RIS

COMPLETENESS OF RECORD:

START			END		COMMENTS		Suspicious Record

4/19/80   ------------------- 11/7/80		daily record

10/2/83 ------------------- 11/19/83      	daily record

4/26/84   ----------------- 11/16/84       	daily record

4/24/85   ----------------- 11/16/85       	daily record

4/23/86   ----------------- 11/16/86       	daily record

4/23/87   ----------------- 11/16/87       	daily record		4/23/87 to 8/5/87

4/19/88   ------------------ 12/9/88      	daily record

2/25/89   ----------------- 11/16/90       	daily record		6/5/89 to 6/18/89

4/17/91   ----------------- 10/20/91       	daily record		7/20/90 to 9/15/90

4/16/92   ----------------- 11/15/92       	daily record

4/16/93   ----------------- 11/15/93       	daily record

4/13/94   ----------------- 11/15/94      	daily record

4/14/95   ----------------- 11/15/95       	daily record

4/16/96   ----------------- 11/14/96       	daily record

4/16/97   ----------------- 11/14/97       	daily record

VARIABILITY:

The record is stair stepped prior to 1995 and because of this the variability is insensitive on a day-to-day basis.

BIAS:

In 1993-94 there is some positive bias suggested as well as the periods noted

MONITORING SITE REPRESENTATIVE OF CROSS SECTION:

Comparison of data made available by Pacific States Marine Fisheries Council collected in 1966, 71, and 72 at the forebay spillway and mid channel showed no bias for either site; minimum, median, and maximum variability within the cross section was 0.0, 0.2, and 0.8oC.

GENERAL COMMENTS:

Data were currently collected at a depth of 15 feet in forebay near turbine intake. Date and time have been added without a temperature value when a few days of record is missing.