THE DALLES TDG TAILRACE (TDTO)		 	    DATE COMPILED: May 29, 1998 SWM

Revised: July 15, 1998 AL

STATION LOCATION: at river mile 190.6, downstream 1.1 miles from dam on left bank. Sensor is at a minimum 15 ft depth below water surface.

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by the Portland District

BEGINNING DATA: April 21, 1995	ENDING DATA: July 8, 1996	UNITS: Celsius

DATA DESCRIPTION: Hourly values, usually 24 values per day, total  7,538 values.  Daily data file includes maximum, minimum, mean and variability for the day, total 316 records.

TITLE OF FILE: Daily: tdto_tdg95-96d.xls			STATION CODE:   TDTO

Hourly: tdto_tdg95-96.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS			SUSPICIOUS RECORD

4/21/95  ------------ 8/8/95		generally 24 values per day

8/15/95  --------- 11/17/95		generally 24 values per day

3/28/96  -----------  7/8/96		generally 24 values per day

VARIABILITY:

Variability is between 0.1 and 0.4 oC most of the time. This record is much less variable than the forebay record.

BIAS:

The record appears to be unbiased.

REPRESENTATIVE OF CROSS SECTION:

This record appears representative of the river temperature cross section.

GENERAL COMMENTS:

The record is short and collected seasonally from March to September. It is a good record estimated to be within +0.5oC of the mean for the cross section.