WELLS DAM TDG FOREBAY				DATE COMPILED: April 3, 1998 AL

Revised: April 28, 1998 SWM

STATION LOCATION: at river mile 515.7, on right side of dam

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by Douglas PUD

BEGINNING DATA: April 20, 1984	ENDING DATA: Sept. 2, 1997	UNITS: Celsius

DATA DESCRIPTION: From 1984-90, hourly values, 5-16 times per day; total of 11,175 values. From 1991-97, hourly values for each hour; total of 19,947 values. Daily data file from 1984-97 is 1,178 values.

Daily data file includes maximum, minimum, and mean daily values and the variability for the day.

TITLE OF FILE: Daily data: wel_tdg84-97d.xls 		STATION CODE: WEL

Hourly data: wel_tdg84-97.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS

4/20/84 -------------- 7/15/84	5-7 hourly values per day

5/11/85 -------------- 6/30/85	9-16 hourly values per day

4/14/86 -------------- 6/30/86	5-12 hourly values per day

4/21/87 -------------- 6/30/87	7-12 hourly values per day

6/4/88 ---------------- 7/19/88	6-12 hourly values per day

4/16/89 -------------- 7/16/89	5-10 hourly values per day

4/23/90 -------------- 4/27/90	6-11 hourly values per day

5/24/90 -------------- 5/28/90	6-11 hourly values per day

missing 1991 and 1992 data

4/18/93 -------------- 9/12/93	6 hourly values per day

4/29/94 -------------- 9/13/94	6 hourly values per day

4/15/95 ---------------- 9/5/95	6 hourly values per day

4/19/96 -------------- 4/24/96	6 hourly values per day

5/18/96 ---------------- 9/5/96	6 hourly values per day

4/19/97 --------------- 9/2/97	6 hourly values per day

VARIABILITY:

Variability is within 0.5oC most of the time.  During the summer season, when there is regulation upstream and variable heating from the sum, the variation within a day can be as great at 0.9oC.

BIAS:

Records with 0.0oC value, > 2 times adjacent values, and negative values have been removed. Data collected in the forebay are generally the same as temperature data collected in the scroll case when the scroll case data look reasonable; this is true for most of the April-September period.

REPRESENTATIVE OF CROSS SECTION:

No data could be found in this reach to determine how representative the monitoring data was of river cross section conditions.

GENERAL COMMENTS:

The record is generally collected seasonally from April to September.  These data generally are cooler than the scroll-case data.  Temperatures are collected at a minimum 10 foot depth.