COLUMBIA RIVER AT WARRENDALE TDG  		DATE COMPILED: July 16, 1998 AL									Revised: July 17, 1998 SWM

STATION LOCATION: River mile 140.0 downstream of Bonneville Dam about 6 miles on left bank. The sensor is 12 ft below the water surface.

DATA SOURCE: USACE, Northwestern Division, Portland, OR; data collected by the Portland District

BEGINNING DATA: April 16, 1984	ENDING DATA: Nov. 2, 1997	UNITS: Celsius

DATA DESCRIPTION: Hourly values, usually 5- 24 values per day, total of about 58,270 values.  Daily data file includes daily maximum, minimum, mean, and variability for the day, total 2,628 records.

TITLE OF FILE: Daily: wrno_tdg84-97d.xls			STATION CODE: WRNO

Hourly: wrno_tdg84-88.xls, wrno_tdg89-92.xls, wrno_tdg93-97.xls

COMPLETENESS OF RECORD:

START		END		COMMENTS		SUSPICIOUS RECORD

4/16/84  ---------- 7/31/84		5-9 values per day

5/23/85  ---------- 7/31/85		5-9 values per day

4/1/86  ----------- 9/24/86		5-9 values per day	entire period biased 0.1-0.5oC high

4/17/87  ----------- 9/1/87		5-9 values per day	4/17-6/18/87 biased 0.1-0.5oC high

4/22/88  ---------- 9/23/88		5-9 values per day	entire period biased 0.1-1.0oC high

5/12/89  ---------- 9/11/89		6-12 values per day	7/15-9/15/89 biased 1.0-1.5oC low

4/16/90  ---------- 9/10/90		6-12 values per day	6/20-9/15/90 biased 1.0oC high

4/16/91  ---------- 10/7/91		6-12 values per day	4/20-6/20/91 biased 0.5-1.0oC high

4/16/92  ---------- 9/28/92		24 values per day

3/27/93  ---------- 5/18/93		24 values per day

6/4/93  ----------- 9/27/93		24 values per day

3/3/94  ----------- 9/26/94		24 values per day

3/17/95  ---------- 8/11/95		24 values per day

8/21/95  ----------- 1/9/96		24 values per day

3/7/96  ---------	9/12/96		24 values per day

12/23/96  -------- 11/2/97		24 values per day

VARIABILITY:

Daily variability about the daily mean is between 0.1 and 0.5oC. No periods of stepped data.

BIAS: When the record is compared with data from within the cross section, it has similar or slightly higher daily minimum values but much higher daily maximum values, resulting in biased high daily mean values. Due to the additional variability associated with the WRNO record relative to the river cross section measurements, the daily mean record has a bias of +0.2 to 1.6oC.

REPRESENTATIVE OF CROSS SECTION:

The record in May 1995 was biased +1.3oC compared with the river cross section.  In addition, the July 95 record was biased +0.6 to 1.6oC, June 96 was biased +0.2oC, July 96 was biased +0.3oC, and July 97 was biased +0.4oC.  In 1996 and 97, generally the daily minimums were similar to the cross section minimums while the daily maximums were biased  +0.0 to 0.6oC.

GENERAL COMMENTS:

The record is generally good, but appears to have a consistent positive bias between +0.2 to 1.6oC, probably due to the location of the sensor.