BONNEVILLE HATCHERY

A COMPILATION AND SUMMARY OF IHOT AUDITS FOR COHO

JULY 1998

Hatchery Evaluation Report

SUMMARY FOR

Bonneville Hatchery

- Coho

A Summarized Compilation of  Independent Audits Based on Integrated Hatchery Operations Team (IHOT) Performance Measures

SUMMARY REPORT PREPARD BY:

DON SAMPSON

SAMPSEL CONSULTING SERVICES

FOR THE

NORTHWEST POWER PLANNING COUNCIL

JULY 1998

Original IHOT Audit Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

March 1997

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary………………………………………………………..1

Section 2  Facility Description………………………………………………………...3

Section 3  Remedial Actions…………………………………………………………..5

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries….8

Section 5  Annual Operating Expenditures……………………………………………9

Section 1

Executive Summary

This report compiles a summary of the findings of the hatchery Evaluation Reports for Coho at Bonneville Hatchery. The original Hatchery Evaluation Report, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that will include 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The hatchery is located on the Columbia River just west of Cascade Locks, Oregon.  The hatchery is used for adult collection, incubation, and rearing of Tule Fall Chinook and URB Fall Chinook and the adult collection and acclimation of coho. Hatchery audit information for fall chinook and spring chinook are not included in this summary, except for annual operating expenses (Section 5).

Background

The audit is being conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT) in January 1995.  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) contracted with Montgomery Watson to act as an independent contractor for the audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995), which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Bonneville Hatchery - Coho Results

The Bonneville Hatchery facility includes 4 adult holding ponds, 30 converted Burrows ponds, 30 raceways, and incubation facilities. Bonneville Hatchery was constructed in 1909 and was originally funded by the State of Oregon.  In 1957 the facility was remodeled and expanded as part of the Columbia River Fisheries Development Program (Mitchell Act) -- a program to enhance declining fish runs in the Columbia River Basin.  The hatchery underwent another renovation in 1974 as part of the U.S. Army Corps of Engineer’s mitigation of fish losses from the construction of the John Day Dam.

The Bonneville Hatchery - Coho program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return goal.  The audit found that the hatchery was not in compliance with the pathology-free water criteria, water quality monitoring requirements, and IHOT QA/QC protocols for feed, which are all facilities requirements.  The hatchery needs to develop specific rearing standards for the IHOT Operations Plan, develop smolification goals and monitoring program, and follow IHOT transportation and sanitation protocols.  The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Bonneville Hatchery - Coho program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Develop Genetics M&E program |
| --- | --- |
| ( | Develop smolt-to-adult survival goal for IHOT Operations Plan |
| ( | Develop smoltification criteria for IHOT and implement measurement program |
| ( | Develop written broodstock collection plan and procedures |
| ( | Develop written rearing practices and standards for IHOT Operations Plan |
| ( | Follow IHOT recommendations for equipment and rain gear sanitation |
| ( | Follow IHOT recommendations for monitoring food production |
| ( | Follow IHOT transportion protocols |
| ( | Improve conditions in ponds used for acclimation |
| ( | Review the need for pathogen-free water for rearing and acclimation |
| ( | Review Operations Plan with staff |
| ( | Run analysis for alkalinity and hardness for Tanner Creek |
| ( | Run analysis for contaminants for Tanner Creek |
| ( | Run analysis for dissolved oxygen and dissolved nitrogen |
| ( | Run analysis for missing water chemistry parameters for Tanner Creek |
| ( | Run analysis for nitrite for Tanner Creek |
| ( | Run analysis for turbidty for Tanner Creek |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Bonneville Hatchery |
| --- | --- |
| Stock/Species: | Tule Fall Chinook, URB Fall Chinook, Spring Chinook, and Coho |
| Operating Agency: | Oregon Department of Fish and Wildlife |
| Funding Agency: | Receives funding from both the National Marine Fisheries Service (NMFS) and U.S. Army Corps of Engineers (COE) |
| Location: | Just west of Cascade Locks, Oregon at Bonneville Dam on the Columbia River |
| Address: |

Bonneville Hatchery

Oregon Department of Fish and Wildlife

Star Route B, Box 12

Cascade Locks, OR  97014

| Hatchery Manager: | Mr. Dan Barrett |
| --- | --- |

Phone

Fax:

(503) 374-8393

(503) 374-8090 (fax)

Purpose:

Bonneville Hatchery was constructed in 1909 and was originally funded by the State of Oregon.  In 1957 the facility was remodeled and expanded as part of the Columbia River Fisheries Development Program (Mitchell Act), a program to enhance declining fish runs in the Columbia River Basin.  The hatchery underwent another renovation in 1974 as part of the U.S. Army Corps of Engineer’s mitigation of fish losses from the construction of the John Day Dam.

This hatchery provides fish for the ocean and river fisheries and eggs to other programs.

Production Goal:

URB Fall Chinook

2,900,000 eggs to Umatilla Hatchery

2,830,000 fingerlings (37,875 lb) for release in the Columbia

5,325,000 smolts and fingerlings (112,750 lb) for on-station 		releases

225,000 smolts (28,125 lb) for release in the Umatilla River

Tule Fall Chinook

9,100,000 fry (34,000 lb) for transfer to Stayton Ponds

7,950,000 fingerlings (123,080 lb) for on-station releases

2,000,000 fingerlings (40,000 lb) for release in Tanner Creek 		from the Stayton Ponds

Spring Chinook

125,000 Deschutes stock smolts (15,554 lb) for release into the 		West Fork Hood River

Coho

1,175,00 smolts (90,384 lb) for on-site release

Total Production: 481,769lb

Water Supply:

Gravity supply from Tanner Creek

Wells

Facilities:

Incubation:

Adult Holding

Raceways

Satellite Facilities

152 16-tray vertical incubators

60 bulk incubators (space for 10 baskets each)

Upper Pond (North) - 32,785 cf

Upper Pond (South) - 32,785 cf

Lower Pond - (Upper Side) - 11,288 cf

Lower Pond - (Lower Side) - 14,502 cf

Battery A - 22 converted Burrow ponds - 3,188 cf each

Battery B - 8 converted Burrow ponds - 3,188 cf each

Battery C & D - 30 raceways - 4,000 cf each

Adult Holding Ponds - 4  ponds,  91,360 cf total

None

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The types of categories range across a spectrum from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at Bonneville Hatchery - Coho

This section presents the corrective actions required to bring the  Bonneville Hatchery - Coho program into compliance with IHOT performance measures.  The remedial actions suggested here are just that, suggestions developed by the Montgomery Watson Audit Team.  For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Table 3).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

The suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems.  These optional actions are desirable for either operational or safety considerations.

Table 3.  Remedial Actions Required at  Bonneville Hatchery - Coho

Remedial Action Required

Cost

PMs

Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery

| None |
| --- |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Review Operations Plan with staff | ---- | 2 |
| Develop smolt-to-adult survival goal for IHOT Operations Plan | ---- | 4h |
| Install security alarms | ---- | 6 |
| Install telephone pagers | ---- | 6 |
| Follow IHOT recommendations for monitoring food production | ---- | 12 |
| Develop written rearing practices and standards for IHOT Operations Plan | ---- | 19 |
| Develop smoltification criteria for IHOT and implement measurement program | ---- | 22a1 |
| Follow IHOT transportion protocols | ---- | 23 |
| Follow IHOT recommendations for equipment and rain gear sanitation | ---- | 28 |
| Develop written broodstock collection plan and procedures | ---- | 41 |
| Develop Genetics M&E program | ---- | 43 |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Run analysis for dissolved oxygen and dissolved nitrogen | ---- | 5b |
| Run analysis for missing water chemistry parameters for Tanner Creek | ---- | 5c |
| Run analysis for turbidty for Tanner Creek | ---- | 5d |
| Run analysis for alkalinity and hardness for Tanner Creek | ---- | 5e |
| Run analysis for nitrite for Tanner Creek | ---- | 5f |
| Run analysis for contaminants for Tanner Creek | ---- | 5g |
| Type 4 - Remedial actions requiring significant capital expenditures |
| None | ---- |

Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time

Improve conditions in ponds used for acclimation

----

| 4g |
| --- |
| Review need for pathogen-free water for rearing and acclimation | ---- | 5h, 20, 22a2 |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the  Bonneville Hatchery - Coho program contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Table 4). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Bonneville Hatchery - Coho

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1981 |
|  | 1982 |
|  | 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
| 29,395 | 1.67 |
| 1988 |
| 51,980 | 3.15 |
| 1989 |
| 35,350 | 2.05 |
| 1990 |
| 19,155 | 0.88 |
| 1991 |
| 25,126 | 2.26 |
| 1992 |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, and supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program. The total expenditures for the Bonneville Hatchery are presented in Table 5 by program.  The detailed breakdown of program expenditures for coho and fall chinook at this hatchery are presented in separate tables (Tables 6a, 6b and 6c).

Table 5.  Annual Operating Expenses - Bonneville Hatchery

| Program | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| 1. Coho | $81,122 | $70,136 | $78,118 |
| 2. URB Fall Chinook | $689,534 | $596,153 | $664,001 |
| 3. Tule Fall Chinook | $851,777 | $736,424 | $820,236 |
| Total Hatchery Costs | $1,622,443 | $1,402,713 | $1,562,355 |

Table 6a.  Detailed Expenditures at Bonneville Hatchery by Program

Coho

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $630,358 | $546,837 | $615,680 |
| Operational Costs | $428,665 | $355,640 | $419,886 |
| Capital Costs | $31,494 | $2,594 | $0 |
| Indirect Costs | $231,926 | $197,642 | $226,789 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $300,000 | $300,000 | $300,000 |
| Total Hatchery Costs | $1,622,443 | $1,402,713 | $1,562,355 |
| Source of Funds |
|  | Program Production (lb) |
|  | Total Production (lb) |
|  | Program as Percent of Total | 5% | 5% | 5% |
| Program Costs | $81,122 | $70,136 | $78,118 |

Table 6b.  Detailed Expenditures at Bonneville Hatchery by Program

URB Fall Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $630,358 | $546,837 | $615,680 |
| Operational Costs | $428,665 | $355,640 | $419,886 |
| Capital Costs | $31,494 | $2,594 | $0 |
| Indirect Costs | $231,926 | $197,642 | $226,789 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $300,000 | $300,000 | $300,000 |
| Total Hatchery Costs | $1,622,443 | $1,402,713 | $1,562,355 |
| Source of Funds |
|  | Program Production (lb) |
|  | Total Production (lb) |
|  | Program as Percent of Total | 42.5% | 42.5% | 42.5% |
| Program Costs | $689,534 | $596,153 | $664,001 |

Table 6c.  Detailed Expenditures at Bonneville Hatchery by Program

Tule Fall Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $630,358 | $546,837 | $615,680 |
| Operational Costs | $428,665 | $355,640 | $419,886 |
| Capital Costs | $31,494 | $2,594 | $0 |
| Indirect Costs | $231,926 | $197,642 | $226,789 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $300,000 | $300,000 | $300,000 |
| Total Hatchery Costs | $1,622,443 | $1,402,713 | $1,562,355 |
| Source of Funds |
|  | Program Production (lb) |
|  | Total Production (lb) |
|  | Program as Percent of Total | 52.5% | 52.5% | 52.5% |
| Program Costs | $851,777 | $736,424 | $820,236 |

________________________________________

w:\co\ihot audits\oregon;big cr.-irrigon\bonneville-final.doc

# Footnotes

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

20 million kwh/year @$0.015 per kwh

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

20 million kwh/year @$0.015 per kwh

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

20 million kwh/year @$0.015 per kwh