clackamas hatchery

a compilation and summary of ihot audits for spring chinook and winter steelhead

july 1998

Hatchery Evaluation Report

summary for

Clackamas Hatchery

Spring Chinook

Winter Steelhead

A Summarized Compilation of Independent Audits Based on

Integrated Hatchery Operations Team (IHOT) Performance Measures

summary report prepared by:

don sampson

sampsel consulting services

for the

northwest power planning council

july, 1998

Original IHOT Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

December, 1996

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary	1

Section 2  Facility Description	4

Section 3  Remedial Actions	6

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries	11

Section 5  Annual Operating Expenditures	13

Section 1

Executive Summary

This report compiles a summary of the findings of  two separate Hatchery Evaluation Reports for Spring Chinook and Winter Steelhead at Clackamas Hatchery. The original Hatchery Evaluation Reports, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that  included 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The Clackamas Hatchery is located on the Clackamas River, approximately 5 miles west of Estacada, Oregon and is operated by the Oregon Department of Fish and Wildlife.  Clackamette Cove net pens, Marmot Ponds, and Hublou net pens are operated as satellite facilities to Clackamas Hatchery.  The hatchery is used for adult collection, egg incubation, and rearing of spring chinook and the rearing of winter steelhead.

Background

The hatchery audit was conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT) in January, 1995.  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) contracted with Montgomery Watson to act as an independent contractor for the audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995), which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Clackamas Hatchery - Spring Chinook and Winter Steelhead Results

The Clackamas facility includes three ponds for adult holding, 10 concrete raceways, 3 rearing ponds, and incubation facilities. Clackamas Hatchery began operation in 1979 and is operated from four funding sources: ODFW, NMFS, Portland General Electric, and the City of Portland.  The NMFS funding is part of the Columbia River Fisheries Development Program (Mitchell Act) - a program to enhance declining fish runs in the Columbia River Basin.  Portland General Electric and City of Portland provide funding as mitigation for fishery losses caused by hydroelectric development in the Sandy and Clackamas river systems.

SPRING CHINOOK

The Clackamas Hatchery - Spring Chinook program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery needed to improve its pre-spawning survival and develop a smolt-to-adult goal.  The audit found that the hatchery was not in compliance the temperature criteria for rearing, water quality monitoring requirements, alarm requirements, predation control requirements, and regional feed preparation oversight, which are all facilities requirements.  The hatchery needs to provide rearing in the subbasin or acclimation for all releases.  The hatchery needed to develop specific incubation and rearing standards for the IHOT Operations Plan, smoltification goal and monitoring plan, and follow IHOT disinfection protocols for transport vehicles.  The hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Clackamas Hatchery - Spring Chinook program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct IHOT QA/QC for feed preparation |
| --- | --- |
| ( | Determine if design of release lines and manhole subjects fish to adverse conditions |
| ( | Develop alarm log |
| ( | Develop genetics and M&E program |
| ( | Develop smolt-to-adult survival goal for IHOT Operations Plan |
| ( | Develop smoltification goal and monitor |
| ( | Develop specific incubation and rearing standards for IHOT Operations Plan |
| ( | Follow IHOT protocols for disinfection of exterior and interiors of transport vehicles |
| ( | Follow IHOT transportation protocols for water temperature; provide heating and cooling capabilities on transport trucks |
| ( | Implement IHOT recommendations for alarm monitoring and checking |
| ( | Improve pre-spawning survival by controlling disease problems |
| ( | Install outside systems and buzzers in onsite residences |
| ( | Monitor TGP |
| ( | Provide bird netting on B ponds |
| ( | Provide chilling to approximately 19,900 gpm and/or disinfect |
| ( | Provide rearing or acclimation in the subbasin |
| ( | Review incubation standards or modify rearing programs |
| ( | Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

WINTER STEELHEAD

Hatchery - Winter Steelhead program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery needed to improve its fry-to-smolt survival and document its adult contribution.  The audit found that the hatchery was not in compliance the temperature criteria for rearing, water quality monitoring requirements, alarm requirements, predation control requirements, and regional feed preparation oversight, which are all facilities requirements.  The hatchery needs to provide rearing in the subbasin or acclimation for Sandy subbasin releases.  The hatchery needed to develop specific rearing standards for the IHOT Operations Plan, smoltification goal and monitoring plan, and follow IHOT disinfection protocols for transport vehicles.  The hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Clackamas Hatchery - Winter Steelhead program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct fish contribution studies |
| --- | --- |
| ( | Conduct IHOT QA/QC for feed preparation |
| ( | Determine if design of release lines and manhole subjects fish to adverse conditions |
| ( | Develop alarm log |
| ( | Develop genetics and M & E program |
| ( | Develop smoltification goal and monitor |
| ( | Develop specific rearing standards for IHOT Operations Plan |
| ( | Document adult contribution |
| ( | Follow IHOT protocols for disinfection of exterior and interiors of transport vehicles |
| ( | Follow IHOT transportation protocols for water temperature; provide heating and cooling capabilities on transport trucks |
| ( | Implement IHOT recommendations for alarm monitoring and checking |
| ( |

| Improve fry-to-smolt survival by disinfecting water supply or prophylactic treatment |
| --- |
| ( | Install outside systems and buzzers in onsite residences |
| ( | Monitor TGP |
| ( | Provide bird netting on A ponds |
| ( | Provide chilling to approximately 19,900 gpm and/or disinfect |
| ( | Provide rearing or acclimation for fish released in Sandy subbasin |
| ( | Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Clackamas Hatchery |
| --- | --- |
| Stock/Species: |

Spring Chinook

Winter Steelhead

| Operating Agency: | Oregon Department of Fish & Wildlife |
| --- | --- |
| Funding Agency: | Mitchell Act, ODFW, Portland General Electric, and City of Portland |
| Location: | Clackamas Hatchery is located on the Clackamas River, approximately 5 miles west of Estacada, Oregon. Clackamette Cove net pens, Marmot Ponds, and Hublou net pens are operated as satellite facilities to Clackamas Hatchery. |
| Address: |

Clackamas Hatchery

Oregon Department of Fish & Wildlife

24500 S. Entrance Rd.

Estacada, OR  97023

| Hatchery Manager: | Mr. Mel Kelly |
| --- | --- |

Phone:

Fax:

(503) 630-7210

| (503) 630-4566 |
| --- |
| Purpose: | Clackamas Hatchery began operation in 1979 and is operated from four funding sources: ODFW, NMFS, Portland General Electric, and the City of Portland. The NMFS funding is part of the Columbia River Fisheries Development Program (Mitchell Act) - a program to enhance declining fish runs in the Columbia River Basin. Portland General Electric and City of Portland provide funding as mitigation for fishery losses caused by hydroelectric development in the Sandy and Clackamas river systems. |
| Production Goal: |

Spring Chinook

Provide 1,781,000 eggs to ODFW hatcheries and the Salmon and Trout Enhancement Program.

Produce 976,670 smolts (98,880 lb) for on-station releases into the Clackamas River.

Produce 50,000 smolts (5,000 lb) for release into the Clackamas River from the Clackamette Cove net pens

Produce 30,000 smolts (3,000 lb) for release into the Clackamas River from the Hublou Harbor net pens

Produce 360,000 smolts (41,110 lb) for release into the Sandy River.

Produce 100,000 smolts (10,000 lb) for release into Sandy River from the Marmot acclimation pond.

Winter Steelhead

Produce 30,000 smolts (5,000 lb) for on-station releases into the Clackamas River.

| Produce 30,000 smolts (5,000 lb) for release into the Sandy River. |
| --- |
| Water Supply: | Water rights total 44,354 gpm form the Clackamas River and a well. The Clackamas River provides the majority of water used for hatchery operations. |

Facilities:

|  | Adult Holding: | 3 concrete adult holding ponds - 5,040 cf each |
| --- | --- | --- |
| Incubation: | 20 16-tray stacks |
| Early Rearing: | 2 Canadian troughs - 28 cf each |
| Raceways: | 10 concrete raceways - 4,080 cf each |
| Rearing Ponds: | 3 asphalt/concrete rearing ponds - 67,500 cf each |
| Satellite Facilities: |

Clackamette Cove net pens

Hublou net pens

Marmot Ponds

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The types of categories range across a spectrum from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at  Clackamas Hatchery - Spring Chinook and Winter Steelhead

This section presents the corrective actions required to bring the  Clackamas Hatchery - Spring Chinook and Winter Steelhead programs into compliance with IHOT performance measures.  The remedial actions described here are  suggestions developed by the Montgomery Watson Audit Team. The remedial actions and associated cost estimates have not been analyzed or prioritized by the respective operating agencies, fishery managers, or IHOT. There may be additional remedial actions, not included in this report, proposed by the respective operating agencies.  For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Table 3a and 3b).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

The suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems.  These optional actions are desirable for either operational or safety considerations.

Table 3a.  Remedial Actions Required at  Clackamas Hatchery - Spring Chinook

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Install security alarms | ---- | 6 |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Improve pre-spawning survival by controlling disease problems | ---- | 4b |
| Develop smolt-to-adult survival goal for IHOT Operations Plan | ---- | 4h |
| Implement IHOT recommendations for alarm monitoring and checking | ---- | 6 |
| Develop alarm log | ---- | 6 |
| Conduct IHOT QA/QC for feed preparation | ---- | 12 |
| Develop specific incubation and rearing standards for IHOT Operations Plan | ---- | 18-19 |
| Review incubation standards or modify rearing programs | ---- | 18 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT protocols for disinfection of exterior and interiors of transport vehicles | ---- | 23 |
| Develop genetics and M&E program | ---- | 43 |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Monitor TGP | ---- | 5b |
| Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Install outside systems and buzzers in 4 onsite residences | $20,000 | 6 |
| Provide bird netting on B ponds | $180,000 | 11 |
| Determine if design of release lines and manhole subjects fish to adverse conditions | $25,000 | 13 |
| Provide rearing or acclimation in the subbasin | $1,000,000 | 22b |
| Follow IHOT transportation protocols for water temperature; provide heating and cooling capabilities on transport trucks | $25,000 | 23 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Provide chilling to approximately 19,900 gpm and/or disinfect | ---- | 5a |

Table 3b.  Remedial Actions Required at  Clackamas Hatchery - Winter Steelhead

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Install security alarms | ---- | 6 |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Document adult contribution | ---- | 4a, 4h |
| Implement IHOT recommendations for alarm monitoring and checking | ---- | 6 |
| Develop alarm log | ---- | 6 |
| Conduct IHOT QA/QC for feed preparation | ---- | 12 |
| Develop specific rearing standards for IHOT Operations Plan | ---- | 18-19 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT protocols for disinfection of exterior and interiors of transport vehicles | ---- | 23 |
| Conduct fish contribution studies | ---- | 24 |
| Develop genetics and M & E program | ---- | 43 |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Monitor TGP | ---- | 5b |
| Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Improve fry-to-smolt survival by disinfecting entire facility water supply or prophylactic treatment | $25 Million | 4f |
| Install outside systems and buzzers in 4 onsite residences | $20,000 | 6 |
| Provide bird netting on A ponds | $5,000 | 11, 22a4 |
| Determine if design of release lines and manhole subjects fish to adverse conditions | $25,000 | 13 |
| Provide rearing or acclimation for fish released in Sandy subbasin | $1,000,000 | 22b |
| Follow IHOT transportation protocols for water temperature; provide heating and cooling capabilities on transport trucks | $25,000 | 23 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Provide chilling to approximately 19,900 gpm and/or disinfect | ---- | 5a, 5h, 22a4 |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the  Clackamas Hatchery - Spring Chinook  and Winter Steelhead programs contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Tables 4a and 4b). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4a. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Clackamas Hatchery - Spring Chinook

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1981 |
|  | 1982 |
|  | 1983 | 4,123 | 4,386 | 1,472 |
| 1984 | 2,637 | 3,371 | 1,004 |
| 1985 | 2,900 | 3,114 | 1,075 |
| 0.07 |
| 1986 | 5,335 | 5,591 | 2,754 |
| 0.51 |
| 1987 | 3,708 | 5,249 | 4,326 |
| 0.86 |
| 1988 | 2,699 | 3,258 | 4,502 |
| 1.17 |
| 1989 | 1,420 | 1,742 | 2,775 |
| 0.35 |
| 1990 |
|  | 1991 |
|  | 1992 |

Table 4b. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Clackamas Hatchery - Winter Steelhead

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1983 |
|  | 1984 |
|  | 1985 | No Information Provided | No Information Provided | No Information Provided | No Information Provided | No Information Provided |
| 1986 | No Information Provided | No Information Provided | No Information Provided | No Information Provided | No Information Provided |
| 1987 | No Information Provided | No Information Provided | No Information Provided | No Information Provided | No Information Provided |
| 1988 | No Information Provided | No Information Provided | No Information Provided | No Information Provided | No Information Provided |
| 1989 | No Information Provided | No Information Provided | No Information Provided | No Information Provided | No Information Provided |
| 1990 |
|  | 1991 |
|  | 1992 |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, and supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program. The total expenditures for the Clackamas Hatchery are presented in Table 5 by program.  The detailed breakdown of program expenditures at this hatchery are presented in separate tables (Tables 6a and 6b).

Table 5.  Annual Operating Expenses - Clackamas Hatchery

| Program | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| 1. Spring Chinook | $469,316 | $469,316 | $506,079 |
| 2. Winter Steelhead | $29,956 | $29,956 | $30,365 |
| 3. |
|  | 4. |
|  | 5. |
|  | Total Hatchery Costs | $499,272 | $499,272 | $506,079 |

6a.  Detailed Expenditures at Clackamas Hatchery by Program

Spring Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $185,598 | $185,598 | $182,944 |
| Operational Costs | $238,451 | $238,451 | $246,968 |
| Capital Costs | $0 | $0 | $0 |
| Indirect Costs | $75,223 | $75,223 | $76,167 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs |
|  | Total Hatchery Costs | $499,272 | $499,272 | $506,079 |
| Source of Funds |
|  | Mitchell Act, ODFW, Portland General Electric, and City of Portland |
|  | Program Production (lb) | 161,111 | 161,111 | 161,111 |
| Total Production (lb) | 171,336 | 171,336 | 171,336 |
| Program as Percent of Total | 94% | 94% | 94% |
| Program Costs | $469,316 | $469,316 | $475,714 |

Table 6b.  Detailed Expenditures at Clackamas Hatchery by Program

Winter Steelhead

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $185,598 | $185,598 | $182,944 |
| Operational Costs | $238,451 | $238,451 | $246,968 |
| Capital Costs | $0 | $0 | $0 |
| Indirect Costs | $75,223 | $75,223 | $76,167 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs |
|  | Total Hatchery Costs | $499,272 | $499,272 | $506,079 |
| Source of Funds |
|  | Mitchell Act, ODFW, Portland General Electric, and City of Portland |
|  | Program Production (lb) | 10,000 | 10,000 | 10,000 |
| Total Production (lb) | 171,336 | 171,336 | 171,336 |
| Program as Percent of Total | 5.8% | 5.8% | 5.8% |
| Program Costs | $29,956 | $29,956 | $30,365 |

________________________________________

w:\co\ihot audits\oregon;big cr.-irrigon\clackamas-final.doc

# Footnotes

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.