COWLITZ TROUT HATCHERY

A COMPILATION AND SUMMARY OF IHOT AUDITS FOR SUMMER STEELHEAD, WINTER STEELHEAD, AND CUTTHROAT TROUT

JULY 1998

Hatchery Evaluation Report

SUMMARY FOR

Cowlitz Trout Hatchery

Summer Steelhead

Winter Steelhead

Cutthroat Trout

A Summarized Compilation of Independent Audit Based on Integrated Hatchery Operations Team (IHOT) Performance Measures

SUMMARY REPORT PREPARED BY:

DON SAMPSON

SAMPSEL CONSULTING SERVICES

FOR THE

NORTHWEST POWER PLANNING COUNCIL

JULY 1998

Original IHOT Audit Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

March 1997

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary	1

Section 2  Facility Description	4

Section 3  Remedial Actions	7

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries	14

Section 5  Annual Operating Expenditures	17

Section 1

Executive Summary

This report compiles a summary of the findings of three separate Hatchery Evaluation Reports for Summer Steelhead, Winter Steelhead, and Cutthroat Trout at Cowlitz Trout Hatchery. The original Hatchery Evaluation Reports, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that will include 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The hatchery is located on the Cowlitz River about 42 miles above the mouth. The hatchery is operated by the Washington Department of Fish and Wildlife.  The Cowlitz River is a north bank tributary of the lower Columbia River, just downstream of Longview, Washington.  The hatchery is used for adult collection, incubation, and rearing of winter steelhead, summer steelhead, sea-run cutthroat, tiger muskie, and channel catfish.

Background

The audit is being conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT) in January 1995.  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) contracted with Montgomery Watson to act as an independent contractor for the audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995), which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Cowlitz Trout Hatchery – Summer Steelhead, Winter Steelhead, and Cutthroat Trout Results

The Cowlitz Trout facility includes three ponds for adult holding, 24 concrete raceways, 6 intermediate concrete raceways, 4 rearing lakes, and incubation facilities.  Cowlitz Hatchery began operation in 1967 as a mitigation facility for dams blocking the Cowlitz River.  The goal of the hatchery is to produce adult winter steelhead, summer steelhead, and sea-run cutthroat for sport fisheries.  The mitigation goal is to produce 191,000 pounds of smolts and return 38,600 adult steelhead and sea-run cutthroat to the river.

SUMMER STEELHEAD

The Cowlitz Trout Hatchery - Summer Steelhead program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return goal, needed to document its adult contribution and eyed-egg to fry survival, and needed to establish a pre-spawning goal and determine compliance,  The audit found that the hatchery was not in compliance with the dissolved oxygen criteria, screen approach criteria, water quality monitoring requirements, predation control facilities, release facilities requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific incubation and rearing standards for the IHOT Operations Plan.  The hatchery was not meeting all of the transportation, alarm, and food storage requirements.  The hatchery did not meet the flow criteria for incubation. The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Cowlitz Trout Hatchery - Summer Steelhead program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Check water alarms daily |
| --- | --- |
| ( | Conduct IHOT QA/QC tests for feed preparation |
| ( | Construct bird netting over 857,000 sf of rearing area |
| ( | Construct new intake or add an additional 25 sf of screen area |
| ( | Develop alarm log |
| ( | Develop approved genetic M&E plan |
| ( | Develop rearing criteria for shallow troughs used for rearing |
| ( | Develop specific incubation and rearing standards for the IHOT Operations Plan |
| ( | Document adult contribution |
| ( | Document eyed-egg to fry survival |
| ( | Establish a pre-spawning survival goal and determine compliance status |
| ( | Follow IHOT protocols for disinfection of transport vehicle cab |
| ( | Follow IHOT temperature criteria for transport |
| ( | Install 22 additional incubators or reduce loading |
| ( | Install alarms for large rearing ponds and adult holding ponds |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Insulate demand feeders |
| ( | Monitor DO in transport tank |
| ( | Monitor and record TGP |
| ( | Rebuild aerators |
| ( | Replace smolt discharge channel |
| ( | Review IHOT Operations Plan and follow |
| ( | Revise smoltification goal to meet Section 10 requirements |
| ( | Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

WINTER STEELHEAD

The Cowlitz Trout Hatchery - Winter Steelhead program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return goal, needed to document its adult contribution and eyed-egg to fry survival, and needed to establish a pre-spawning goal and determine compliance,  The audit found that the hatchery was not in compliance with the dissolved oxygen criteria, screen approach criteria, water quality monitoring requirements, predation control facilities, release facilities requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific incubation and rearing standards for the IHOT Operations Plan.  The hatchery was not meeting all of the transportation, alarm, and food storage requirements.  The hatchery was not meeting the flow criteria for incubation and needed to collect rearing information for the 3 acre rearing lakes.  The hatchery was not collecting an unbiased, representative sample of adults.  The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Cowlitz Trout Hatchery - Winter Steelhead program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Check water alarms daily |
| --- | --- |
| ( | Collect unbiased, representative sample of adults |
| ( | Conduct IHOT QA/QC tests for feed preparation |
| ( | Construct bird netting over 857,000 sf of rearing area |
| ( | Construct new intake with an additional 25 sf of screen area |
| ( | Develop alarm log |
| ( | Develop approved genetic M&E plan |
| ( | Develop flow and loading numbers for 3-acre rearing lakes |
| ( | Develop rearing criteria for shallow troughs used for rearing |
| ( | Develop specific incubation and rearing standards for the IHOT Operations Plan |
| ( | Document adult contribution |
| ( | Document eyed-egg to fry survival |
| ( | Establish pre-spawning survival goal and determine compliance status |
| ( | Follow IHOT protocols for disinfection of transport vehicle cab |
| ( | Follow IHOT temperature criteria for transport |
| ( | Improve turbidity in 5-acre rearing ponds |
| ( | Increase adult returns |
| ( | Install 22 additional incubators or reduce loading |
| ( | Install alarms for large rearing ponds and adult holding ponds |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Insulate demand feeders |
| ( | Monitor DO in transport tank |
| ( | Monitor TGP and record |
| ( | Rebuild aerators |
| ( | Replace smolt discharge channel |
| ( | Review IHOT Operations Plan and follow |
| ( | Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

CUTTHROAT TROUT

The Cowlitz Trout Hatchery - Sea-run Cutthroat program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return goal, needed to document its adult contribution and eyed-egg to fry survival, and needed to establish pre-spawning goal and determine compliance,  The audit found that the hatchery was not in compliance with the dissolved oxygen criteria, screen approach criteria, water quality monitoring requirements, predation control facilities, release facilities requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific incubation standards, rearing standards, and adult holding criteria for cutthroat for the IHOT Operations Plan.  The hatchery was not meeting the flow criteria for incubation.  The hatchery was also not meeting all of the transportation, alarm, and food storage requirements.  The hatchery did not have a Genetics Monitoring and Evaluation Program and was not randomizing mating with respect to age class and other traits.

The specific areas in which the Cowlitz Trout Hatchery - Sea-run Cutthroat program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Check water alarms daily |
| --- | --- |
| ( | Collect unbiased, representative sample of adults |
| ( | Conduct IHOT QA/QC tests for feed preparation |
| ( | Construct bird netting over 857,000 sf |
| ( | Construct new intake with an additional 25 sf of screen area |
| ( | Develop adult holding criteria for cutthroat |
| ( | Develop alarm log |
| ( | Develop approved genetic M&E plan |
| ( | Develop rearing criteria for shallow troughs used for rearing |
| ( | Develop specific incubation and rearing standards for the IHOT Operations Plan |
| ( | Document adult contribution |
| ( | Document eyed-egg to fry survival |
| ( | Establish pre-spawning survival goal and determine compliance status |
| ( | Follow IHOT protocols for disinfection of transport vehicle cab |
| ( | Follow IHOT temperature criteria for transport |
| ( | Heat 100 gpm incubation water by 3(F |
| ( | Improve smoltification |
| ( | Install alarms for large rearing ponds and adult holding ponds |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Insulate demand feeders |
| ( | Monitor DO in transport tank |
| ( | Monitor and record TGP |
| ( | Randomize mating with respect to age class and other trails |
| ( | Rebuild aerators |
| ( | Reduce loading for incubation or revise criteria |
| ( | Replace smolt discharge channel |
| ( | Review and follow IHOT Operations Plan |
| ( | Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Cowlitz Trout Hatchery |
| --- | --- |
| Stock/Species: |

Winter Steelhead

Summer Steelhead

Sea-run Cutthroat

| Operating Agency: | Washington Department of Fish and Wildlife |
| --- | --- |
| Funding Agency: | Tacoma City Light |
| Location: | The hatchery is located on the Cowlitz River about 42 miles above the river mouth. The Cowlitz River is a north bank tributary of the lower Columbia River, just downstream of Longview, Washington. |
| Address: |

1182 Spencer Road

Winlock, WA 98590

| Hatchery Manager: | Mr. Vince Janson |
| --- | --- |

Phone:

Fax:

(360)  864-6121

| (360) 864-6122 |
| --- |
| Purpose: | Cowlitz Hatchery began operation in 1967 as a mitigation facility for dams blocking the Cowlitz River. The goal of the hatchery is to produce adult winter steelhead, summer steelhead, and sea-run cutthroat for sport fisheries. The mitigation goal is to produce 191,000 pounds of smolts and return 38,600 adult steelhead and sea-run cutthroat to the river. |
| Production Goal: |

Winter Steelhead

Produce 660,000 smolts for on-station release

Produce 500,000 fingerlings for upriver release

Produce 60,000 fingerlings for Friends of Cowlitz cooperative

Provide 50,000 eyed eggs to co-op programs

Summer Steelhead

Produce 400,000 smolts for on-station release plus 30,000 for Friends of Cowlitz cooperative

Sea-run Cutthroat

| Produce 120,000 smolts for on-station release |
| --- |
| Water Supply: | Water rights total 30,855 gpm from three sources: two well sources and the Cowlitz River. The two well sources provide a combined flow of about 1,500 gpm. In 1991, a 10,000 gpm ozone water treatment system was constructed at the hatchery for control of Ceratomyxa shasta. |

Facilities:

|  | Adult Holding: | 3 concrete adult holding raceways - 7,940 cf each |
| --- | --- | --- |
| Incubation: | 88 shallow concrete troughs |
| Early Rearing: | 88 shallow concrete troughs |
| Raceways: |

24 concrete raceways - 5,270 cf each

6 concrete intermediate raceways - 2,388 cf each

Rearing Ponds:

4 rearing lakes - 1,624,000 cf each

| Net pens |
| --- |
| Satellite Facilities: | None |

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The types of categories range across a spectrum from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at Cowlitz Trout Hatchery – Summer Steelhead, Winter Steelhead, Cutthroat Trout

This section presents the corrective actions required to bring the Cowlitz Trout Hatchery – Summer Steelhead, Winter Steelhead, and Cutthroat Trout programs into compliance with IHOT performance measures.  The remedial actions descrived here are suggestions developed by the Montgomery Watson Audit Team. The remedial actions and associated cost estimates have not been analyzed or prioritized by the respective operating agencies, fishery managers, or IHOT. There may be additional remedial actions, not included in this report, proposed by the respective operating agencies.   For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Table 3a, 3b, 3c).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

The suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems. These optional actions are desirable for either operational

or safety considerations.

Table 3a.  Remedial Actions Required at Cowlitz Trout Hatchery - Summer Steelhead

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Increase adult returns | ---- | 4h |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Review IHOT Operations Plan and follow | ---- | 2 |
| Document adult contribution | ---- | 4a |
| Establish a pre-spawning survival goal and determine compliance status | ---- | 4b |
| Document eyed-egg to fry survival | ---- | 4e |
| Check water alarms daily | ---- | 6 |
| Develop alarm log | ---- | 6 |
| Develop rearing criteria for shallow troughs used for rearing | ---- | 9,18 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop specific incubation and rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Revise smoltification goal to meet Section 10 requirements | ---- | 22a1, 22a4 |
| Follow IHOT protocols for disinfection of transport vehicle cab | ---- | 23 |
| Monitor DO in transport tank | ---- | 23 |
| Follow IHOT temperature criteria for transport | ---- | 23 |
| Develop approved genetic M&E plan | ---- | 43 |

Remedial Action Required

Cost

PMs

| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| --- |
| Monitor and record TGP | ---- | 5b |
| Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants | ---- | 5c, 5e-5g |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Construct bird netting over 857,000 sf of rearing area | $860,000 | 4f, 11 |
| Rebuild aerators | $50,000 | 5b |
| Install alarms for large rearing ponds and adult holding ponds | $10,000 | 6 |
| Install security alarms | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Construct new intake or add an additional 25 sf of screen area | $500,000 | 10 |
| Insulate demand feeders | $10,000 | 12 |
| Replace smolt discharge channel | $60,000 | 13 |
| Install 22 additional incubators or reduce loading | $150,000 | 18 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| None | ---- |

Table 3b.  Remedial Actions Required at Cowlitz Trout Hatchery - Winter Steelhead

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Increase adult returns | ---- | 4c, 4h |
| Type 2 – Remedial actions requiring changes in agency policies or procedures |
| Review IHOT Operations Plan and follow | ---- | 2 |
| Document adult contribution | ---- | 4a |
| Establish pre-spawning survival goal and determine compliance status | ---- | 4b |
| Document eyed-egg to fry survival | ---- | 4e |
| Check water alarms daily | ---- | 6 |
| Develop alarm log | ---- | 6 |
| Develop rearing criteria for shallow troughs used for rearing | ---- | 9,18 |
| Develop flow and loading numbers for 3-acre rearing lakes | ---- | 9,19 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop specific incubation and rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Follow IHOT protocols for disinfection of transport vehicle cab | ---- | 23 |
| Monitor DO in transport tank | ---- | 23 |
| Follow IHOT temperature criteria for transport | ---- | 23 |
| Collect unbiased, representative sample of adults | ---- | 41 |
| Develop approved genetic M&E plan | ---- | 43 |

Remedial Action Required

Cost

PMs

| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| --- |
| Monitor TGP and record | ---- | 5b |
| Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants | ---- | 5c, 5e-5g |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Rebuild aerators | $50,000 | 5b |
| Install alarms for large rearing ponds and adult holding ponds | $10,000 | 6 |
| Install security alarms | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Construct new intake with an additional 25 sf of screen area | $500,000 | 10 |
| Construct bird netting over 857,000 sf of rearing area | $860,000 | 11 |
| Insulate demand feeders | $10,000 | 12 |
| Replace smolt discharge channel | $60,000 | 13 |
| Install 22 additional incubators or reduce loading | $150,000 | 18 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Improve turbidity in 5-acre rearing ponds | ---- | 22a1, 22a4 |

Table 3c.  Remedial Actions Required at Cowlitz Trout Hatchery - Sea-run Cutthroat

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Increase adult returns | ---- | 4c, 4h, 42e |
| Type 2 – Remedial actions requiring changes in agency policies or procedures |
| Review and follow IHOT Operations Plan | ---- | 2 |
| Document adult contribution | ---- | 4a |
| Establish pre-spawning survival goal and determine compliance status | ---- | 4b |
| Document eyed-egg to fry survival | ---- | 4e |
| Check water alarms daily | ---- | 6 |
| Develop alarm log | ---- | 6 |
| Develop adult holding criteria for cutthroat | ---- | 7 |
| Develop rearing criteria for shallow troughs used for rearing | ---- | 9,18 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop specific incubation and rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Reduce loading for incubation or revise criteria | ---- | 18 |
| Follow IHOT protocols for disinfection of transport vehicle cab | ---- | 23 |
| Monitor DO in transport tank | ---- | 23 |
| Follow IHOT temperature criteria for transport | ---- | 23 |
| Collect unbiased, representative sample of adults | ---- | 41 |
| Randomize mating with respect to age class and other trails | ---- | 42 |
| Develop approved genetic M&E plan | ---- | 43 |

Remedial Action Required

Cost

PMs

| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| --- |
| Monitor and record TGP | ---- | 5b |
| Run analysis for water chemistry parameters, alkalinity, hardness, nitrite, and contaminants | ---- | 5c, 5e-5g |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Heat 100 gpm incubation water by 3(F | $20,000 | 5a |
| Rebuild aerators | $50,000 | 5b |
| Install alarms for large rearing ponds and adult holding ponds | $10,000 | 6 |
| Install security alarms | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Construct new intake with an additional 25 sf of screen area | $500,000 | 10 |
| Construct bird netting over 857,000 sf | $860,000 | 11 |
| Insulate demand feeders | $10,000 | 12 |
| Replace smolt discharge channel | $60,000 | 13 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Improve smoltification | ---- | 22a21 |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the Cowlitz Trout Hatchery – Summer Steelhead, Winter Steelhead, and Cutthroat Trout program contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Table 4a, 4b, 4c). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4a. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Cowlitz Trout Hatchery - Summer Steelhead

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 |
|  | 1990 | 8,426 | ? | No broodyear information provided | ? | 1.83 |
| 1991 | 11,620 | ? | No broodyear information provided | ? | 1.91 |
| 1992 | 8,534 | ? | No broodyear information provided | ? | 2.28 |

Table 4b. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Cowlitz Trout Hatchery - Winter Steelhead

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 |
|  | 1990 | 14,482 | ? | No broodyear information provided | ? | 1.63 |
| 1991 | 22,537 | ? | No broodyear information provided | ? | 1.88 |
| 1992 | 16,350 | ? | No broodyear information provided | ? | 1.91 |

Table 4c. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Cowlitz Trout Hatchery - Sea-run Cutthroat

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 |
|  | 1990 | ? | ? | No broodyear information provided | ? | 2.84 |
| 1991 | ? | ? | No broodyear information provided | ? | 2.26 |
| 1992 | ? | ? | No broodyear information provided | ? | 0.62 |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, and supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program. The total expenditures for the Cowlitz Trout Hatchery are presented in Table 5 by program.  The detailed breakdown of program expenditures at this hatchery are presented in separate tables (Tables 6a, 6b, and 6c).

Table 5.  Annual Operating Expenses - Cowlitz Trout Hatchery

| Program | 1993 | 1994 | 1995 |
| --- | --- | --- | --- |
| 1. Winter Steelhead | $454,998 | $517,515 | $509,592 |
| 2. Summer Steelhead | $257,242 | $191,200 | $339,404 |
| 3. Sea-run cutthroat | $90,838 | $141,063 | $123,508 |
| 4. |
|  | 5. |
|  | Total Hatchery Costs | $803,884 | $849,778 | $972,505 |

Table 6a.  Detailed Expenditures at Cowlitz Trout Hatchery by Program

Summer Steelhead

| Component | 1993 | 1994 | 1995 |
| --- | --- | --- | --- |
| Personnel Costs | $336,008 | $381,337 | $366,802 |
| Operational Costs | $215,590 | $183,130 | $248,820 |
| Capital Costs | $16,769 | $35,586 | $98,059 |
| Indirect Costs |
|  | Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $235,517 | $249,725 | $258,824 |
| Total Hatchery Costs | $803,884 | $849,778 | $972,505 |
| Source of Funds |
|  | Tacoma City Light | 100% | 100% | 100% |
|  | Program Production (lb) | 99,819 | 59,696 | 92,223 |
| Total Production (lb) | 311,591 | 265,480 | 264,270 |
| Program as Percent of Total | 32.0% | 22.5% | 34.9% |
| Program Costs | $257,242 | $191,200 | $339,404 |

Table 6b.  Detailed Expenditures at Cowlitz Trout Hatchery by Program

Winter Steelhead

| Component | 1993 | 1994 | 1995 |
| --- | --- | --- | --- |
| Personnel Costs | $336,008 | $381,337 | $366,802 |
| Operational Costs | $215,590 | $183,130 | $248,820 |
| Capital Costs | $16,769 | $35,586 | $98,059 |
| Indirect Costs |
|  | Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $235,517 | $249,725 | $258,824 |
| Total Hatchery Costs | $803,884 | $849,778 | $972,505 |
| Source of Funds |
|  | Tacoma City Light | 100% | 100% | 100% |
|  | Program Production (lb) | 176,441 | 161,626 | 138,600 |
| Total Production (lb) | 311,591 | 265,480 | 264,270 |
| Program as Percent of Total | 56.6% | 60.9% | 52.4% |
| Program Costs | $454,998 | $517,515 | $509,592 |

Table 6c.  Detailed Expenditures at Cowlitz Trout Hatchery by Program

Sea-run Cutthroat

| Component | 1993 | 1994 | 1995 |
| --- | --- | --- | --- |
| Personnel Costs | $336,008 | $381,337 | $366,802 |
| Operational Costs | $215,590 | $183,130 | $248,820 |
| Capital Costs | $16,769 | $35,586 | $98,059 |
| Indirect Costs |
|  | Lumped Hatchery Costs |
|  | Lumped Third-Party Costs | $235,517 | $249,725 | $258,824 |
| Total Hatchery Costs | $803,884 | $849,778 | $972,505 |
| Source of Funds |
|  | Tacoma City Light | 100% | 100% | 100% |
|  | Program Production (lb) | 35,331 | 44,158 | 33,447 |
| Total Production (lb) | 311,591 | 265,480 | 264,270 |
| Program as Percent of Total | 11.3 | 16.6 | 12.7 |
| Program Costs | $90,838 | $141,063 | $123,508 |

# Footnotes

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.