ELOKOMIN HATCHERY

A COMPILATION AND SUMMARY OF IHOT AUDITS FOR FALL CHINOOK AND COHO

JULY 1998

Hatchery Evaluation Report

SUMMARY FOR

Elokomin Hatchery

Tule Fall Chinook

Coho (N)

Coho (S)

A Summarized Compilation of  Independent Audits Based on Integrated Hatchery Operations Team (IHOT) Performance Measures

SUMMARY REPORT PREPARD BY:

DON SAMPSON

SAMPSEL CONSULTING SERVICES

FOR THE

NORTHWEST POWER PLANNING COUNCIL

JULY 1998

Original IHOT Audit Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

March 1997

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary	1

Section 2  Facility Description	5

Section 3  Remedial Actions	6

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries	14

Section 5  Annual Operating Expenditures	17

Section 1

Executive Summary

This report compiles a summary of the findings of three separate Hatchery Evaluation Reports for Tule Fall Chinook, Coho (N), and Coho (S) at Elokomin Hatchery. The original Hatchery Evaluation Reports, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that will include 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The Elokomin Hatchery is located on the Elokomin River, 7 miles upstream from the river mouth. The hatchery is operated by the Washington Department of Fish and Wildlife.

The Elokomin River is a north bank tributary of the lower Columbia River below Bonneville Dam.  It enters the Columbia at river mile 38, just downstream of Cathlamet, Washington.  The hatchery is used for adult collection, incubation, and rearing of lower river fall chinook and coho (Type-S and Type-N).

Background

The audit is being conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT) in January 1995.  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) contracted with Montgomery Watson to act as an independent contractor for the audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995),  which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Elokomin Hatchery - Tule Fall Chinook, Coho(N), and Coho(S)  Results

The Elokomin facility includes 20 raceways, 3 large ponds, and incubation facilities.  Elokomin Hatchery was authorized under the Mitchell Act and began operating in 1954 as part of the Columbia River Fisheries Development Program -- a program to mitigate for fishery losses caused by human impact such as hydroelectric system development.

FALL CHINOOK

The Elokomin Hatchery - Tule Fall Chinook program was in general compliance with most of the performance measures.  The audit found that the hatchery was not in compliance with the water quality monitoring requirements, disease-free water criteria, and needed to redesign the adult trap and intake and to construct a settling basin and incubation filtration system, which are all facilities requirements.  The hatchery was not in compliance with all of the alarm, feed monitoring, smoltification, or transportation requirements.  The hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Elokomin Hatchery - Tule Fall Chinook program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct IHOT QA/QC tests for feed preparation |
| --- | --- |
| ( | Construct settling basin |
| ( | Develop a genetics M&E program |
| ( | Develop alarm logs |
| ( | Develop smoltification goal and monitor |
| ( | Develop IHOT criteria for freestyle incubators |
| ( | Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles |
| ( | Follow IHOT loading criteria for loading in pond 23 |
| ( | Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms |
| ( | Follow IHOT water temperature criteria for transportation |
| ( | Install filter to remove fine sediment in incubation and early rearing water (4 cfs) |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Modify ambient water temperature or production program to meet size goal |
| ( | Monitor and record DO and TGP |
| ( | Provide disease-free water for incubation and early rearing(4 cfs) |
| ( | Rebuild adult trap |
| ( | Redesign intake |
| ( | Review IHOT criteria for incubation temperature |
| ( | Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

COHO (N)

The Elokomin Hatchery - Coho (N Type) program was in general compliance with most of the performance measures. In the area of program objectives, the hatchery was not meeting its adult return goal.  The audit found that the hatchery was not in compliance with the water quality monitoring requirements, disease-free water criteria, needed to redesign the adult trap and intake and needed to construct a settling basin and incubation filtration system, which are all facilities requirements.  The hatchery also exceeded its flow and loading criteria for incubation in the free-style units and exceeded the loading criteria in rearing ponds 22 and 23.  The hatchery was not in compliance with all of the alarm, feed monitoring, smoltification, or transportation requirements.  The hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Elokomin Hatchery - Coho (N Type) program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct IHOT QA/QC tests for feed preparation |
| --- | --- |
| ( | Construct settling basin |
| ( | Develop a genetics M&E program |
| ( | Develop alarm logs |
| ( | Develop smoltification goal and monitor |
| ( | Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles |
| ( | Develop IHOT loading and flow criteria for free-style incubators |
| ( | Follow IHOT loading criteria for ponds 22 and 23 |
| ( | Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms |
| ( | Follow IHOT recommendations on release size |
| ( | Follow IHOT water temperature criteria for transportation |
| ( | Install filter to remove fine sediment in incubation and early rearing water (4 cfs) |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Line pond 23 with asphalt |
| ( | Monitor and record DO and TGP |
| ( | Provide disease-free water for incubation and early rearing (4 cfs) |
| ( | Rebuild adult trap |
| ( | Redesign intake |
| ( | Review IHOT criteria for incubation temperature |
| ( | Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

COHO (S)

The Elokomin Hatchery - Coho (S Type) program was in general compliance with most of the performance measures. In the area of program objectives, the hatchery was not meeting its adult return goal.  The audit found that the hatchery was not in compliance with the water quality monitoring requirements, disease-free water criteria, needed to redesign the adult trap and intake, and needed to construct a settling basin and incubation filtration system, which are all facilities requirements.  The hatchery also exceeded its flow and loading criteria for incubation in the free-style.  The hatchery was not in compliance with all of the alarm, feed monitoring, smoltification, or transportation requirements.  The hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Elokomin Hatchery - Coho (S Type) program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct IHOT QA/QC tests for feed preparation |
| --- | --- |
| ( | Construct settling basin |
| ( | Develop a genetics M&E program |
| ( | Develop alarm logs |
| ( | Develop smoltification goal and monitor |
| ( | Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles |
| ( | Develop IHOT loading and flow criteria for free-style incubators |
| ( | Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms |
| ( | Follow IHOT water temperature criteria for transportation |
| ( | Install filter to remove fine sediment in incubation water and early rearing (4 cfs) |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Monitor and record DO and TGP |
| ( | Provide disease-free water for incubation and early rearing (4 cfs) |
| ( | Rebuild adult trap |
| ( | Redesign intake |
| ( | Review IHOT criteria for incubation temperature |
| ( | Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Elokomin Fish Hatchery |
| --- | --- |
| Stock/Species: |

Tule Fall Chinook

Coho (S Type)

Coho (N Type)

| Operating Agency: | Washington Department of Fish and Wildlife |
| --- | --- |
| Funding Agency: | NMFS (Mitchell Act) |
| Location: | Elokomin Hatchery is located on the Elokomin River, 7 miles upstream from the river mouth. The Elokomin River is a north bank tributary of the lower Columbia River below Bonneville Dam. It enters the Columbia at river mile 38, just downstream of Cathlamet, Washington. |
| Address: |

1318 Elokomin Valley Road

Cathlamet, WA  98612

| Hatchery Manager: | Mr. Dick Aksamit |
| --- | --- |

Phone:

Fax:

(360)  795-3608

| (360) 795-6029 |
| --- |
| Purpose: | Elokomin Hatchery was authorized under the Mitchell Act and began operating in 1954 as part of the Columbia River Fisheries Development Program -- a program to mitigate for fishery losses caused by human impact such as hydroelectric system development. |
| Production Goal: |

Tule Fall Chinook

Produce 4 million subyearlings for on-station release.

Provide 325,000 egg/fish to co-op programs

Coho (S Type)

Produce 500,000 yearlings for on-station release

Coho (N Type)

Produce 1,200,000 yearlings for on-station release

| Provide egg/fish (surplus to on-station needs) to other facilities |
| --- |
| Water Supply: | Water rights total 20,583 gpm from four sources: the Elokomin River, one well, a small, unnamed steam, and Clear Creek. |

Facilities:

|  | Adult Holding: | 1 earth pond - 58,000 cf |
| --- | --- | --- |
| Incubation: |

72 - 16 tray vertical incubators

12 deep troughs

| 6 shallow troughs |
| --- |
| Early Rearing: |
|  | Raceways: | 20 concrete raceways - 4,800 cf each |
| Rearing Ponds: |

1 earth pond - 64,000 cf

| 2 asphalt ponds - 60,100 and 75,200 cf |
| --- |
| Satellite Facilities: | None |

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The types of categories range across a spectrum from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at  Elokomin Hatchery - Tule Fall Chinook, Coho (N), and Coho (S)

This section presents the corrective actions required to bring the  Elokomin Hatchery - Tule Fall Chinook, Coho (N), and Coho (S) programs into compliance with IHOT performance measures.

The remedial actions described here are suggestions developed by the Montgomery Watson Audit Team. The remedial actions and associated cost estimates have not been analyzed or prioritized by the respective operating agencies, fishery managers, or IHOT.  There may be additional remedial actions, not included in this report, proposed by the respective operating agencies. For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Tables 3a, 3b, 3c).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

The suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems.  These optional actions are desirable for either operational or safety considerations.

Table 3a.  Remedial Actions Required at Elokomin Hatchery - Tule Fall Chinook

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 – Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Improve adult returns | ---- | 4c, 4g,4h |
| Type 2 – Remedial actions requiring changes in agency policies or procedures |
| Review IHOT criteria for incubation temperature | ---- | 5a |
| Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms | ---- | 6 |
| Develop alarm logs | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop IHOT criteria for freestyle incubators | ---- | 18 |
| Follow IHOT loading criteria for loading in pond 23 | ---- | 19 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles | ---- | 23 |
| Follow IHOT water temperature criteria for transportation | ---- | 23 |
| Develop a genetics M&E program | ---- | 43 |
| Type 3 – Remedial actions requiring changes in monitoring coverage or interval |
| Monitor and record DO and TGP | ---- | 5b |
| Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Rebuild adult trap | $250,000-$400,000 | 4b |
| Install filter to remove fine sediment in incubation and early rearing water (4 cfs) | $130,000 | 4d-4e |
| Construct settling basin (6,000 gpm) | $200,000 | 5d |
| Provide disease-free water for incubation and early rearing (4 cfs) | $1,000,000 | 5h, 28 |
| Install security alarms | $5,000 | 6 |
| Install telephone pagers | $2,000 | 6 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Redesign intake |
| 5d |
| Modify ambient water temperature or production program to meet size goal | ---- | 22a5 |

Table 3b.  Remedial Actions Required at  Elokomin Hatchery - Coho (N Type)

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 – Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Improve adult returns | ---- | 4c, 4g, 4h |
| Type 2 – Remedial actions requiring changes in agency policies or procedures |
| Review IHOT criteria for incubation temperature | ---- | 5a |
| Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms | ---- | 6 |
| Develop alarm logs | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop IHOT loading and flow criteria for free-style incubators | ---- | 18 |
| Follow IHOT loading criteria for ponds 22 and 23 | ---- | 19 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT recommendations on release size | ---- | 22a5 |
| Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles | ---- | 23 |
| Follow IHOT water temperature criteria for transportation | ---- | 23 |
| Develop a genetics M&E program | ---- | 43 |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Monitor and record DO and TGP | ---- | 5b |
| Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

| Type 4 - Remedial actions requiring significant capital expenditures |
| --- |
| Rebuild adult trap | $250,000 - $400,000 | 4c |
| Install filter to remove fine sediment in incubation and early rearing water (4 cfs) | $130,000 | 4d, 4e |
| Provide disease-free water for incubation and early rearing (4 cfs) | $1,000,000 | 5h, 28 |
| Construct settling basin (6,000 gpm) | $200,000 | 5d |
| Install security alarms | $5,000 | 6 |
| Install telephone pagers | $2,000 | 6 |
| Line pond 23 with asphalt | $25,000 | 9 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Redesign intake | ---- | 5d |

Table 3c.  Remedial Actions Required at  Elokomin Hatchery - Coho (S Type)

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Improve adult returns | ---- | 4c, 4h |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Review IHOT criteria for incubation temperature | ---- | 5a |
| Follow IHOT protocols for daily checking of flow alarms and weekly checking of other alarms | ---- | 6 |
| Develop alarm logs | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Develop IHOT loading and flow criteria for free-style incubators | ---- | 18 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT disinfection protocols for exteriors and interiors of transport vehicles | ---- | 23 |
| Follow IHOT water temperature criteria for transportation | ---- | 23 |
| Develop a genetics M&E program | ---- | 43 |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Monitor and record DO and TGP | ---- | 5b |
| Run analysis for water quality parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Rebuild adult trap | $250,000 -$400,000 | 4b |
| Install filter to remove fine sediment in incubation water and early rearing (4 cfs) | $130,000 | 4c |
| Construct settling basin (6,000 gpm) | $200,000 | 5d |
| Provide disease-free water for incubation and early rearing (4 cfs) | $1,000,000 | 5h, 28 |
| Install security alarms | $5,000 | 6 |
| Install telephone pagers | $2,000 | 6 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| Redesign intake |
| 5d |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the  Elokomin Hatchery - Tule Fall Chinook, Coho (N), and Coho (S) programs contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Tables 4a, 4b, and 4c). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4a. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Elokomin Hatchery - Tule Fall Chinook

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 |
|  | 1985 | 1,088 | 101 | 47 | 1,236 | 1.26% |
| 1986 |
|  | 1987 |
|  | 1988 | 85 | 23 | 22 | 130 | 0.06% |
| 1989 |
|  | 1990 |
|  | 1991 |
|  | 1992 |

Table 4b. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Elokomin Hatchery - Coho (N Type)

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 | 2,250 | 1 | 225 | 2,476 | 8.05% |
| 1989 | 114 | No information provided | 36 | 150 | 0.3% |
| 1990 | 80 | No information provided | 26 | 106 | 0.35% |
| 1991 | No information provided | No information provided | 4 | 4 | 0.01% |
| 1992 |

Table 4c. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries:

Elkomin Hatchery – Coho (S Type)

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 |
|  | 1990 | 96 | No information provided | 46 | 142 | 0.48% |
| 1991 | 3 | No information provided | 5 | 8 | 0.03% |
| 1992 |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, and supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program.The total expenditures for the Elokomin Hatchery are presented in Table 6 by program.  The detailed breakdown of program expenditures for Tule Fall Chinook, Coho (N), and Coho (S) at this hatchery are presented in separate tables (Tables 6a, 6b, and 6c).

Table 5.  Annual Operating Expenses - Elokomin Hatchery

| Program | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| 1. Tule Fall Chinook | $106,476 | $84,683 | $81,386 |
| 2. Coho (N Type) | $146,874 | $111,270 | $150,949 |
| 3. Coho (S Type) | $61,380 | $50,219 | $47,291 |
| 4. |
|  | 5. |
|  | Total Hatchery Costs | $313,164 | $246,173 | $274,953 |

Table 6a.  Detailed Expenditures at Elokomin Hatchery by Program

Tule Fall Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $121,036 | $100,922 | $114,673 |
| Operational Costs | $121,100 | $102,000 | $110,311 |
| Capital Costs |
| $55,000 |
|  | Indirect Costs | $71,028 | $43,251 | $49,969 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs |
|  | Total Hatchery Costs | $313,164 | $246,173 | $274,953 |
| Source of Funds |
|  | Mitchell Act | 100% | 100% | 100% |
|  | Program Production (lb) | 58,873 | 60,173 | 49,453 |
| Total Production (lb) | 173,252 | 174,839 | 166,864 |
| Program as Percent of Total | 34.0% | 34.4% | 29.6% |
| Program Costs | $106,476 | $84,683 | $81,386 |

Table 6b.  Detailed Expenditures at Elokomin Hatchery by Program

Coho (N Type)

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $121,036 | $100,922 | $114,673 |
| Operational Costs | $121,100 | $102,000 | $110,311 |
| Capital Costs |
| $55,000 |
|  | Indirect Costs | $71,028 | $43,251 | $49,969 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs |
|  | Total Hatchery Costs | $313,164 | $246,173 | $274,953 |
| Source of Funds |
|  | Mitchell Act | 100% | 100% | 100% |
|  | Program Production (lb) | 81,418 | 79,083 | 91,681 |
| Total Production (lb) | 173,252 | 174,839 | 166,864 |
| Program as Percent of Total | 46.9% | 45.2% | 54.9% |
| Program Costs | $146,874 | $111,270 | $150,949 |

Table 6c.  Detailed Expenditures at Elokomin Hatchery by Program

Coho (S Type)

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs | $121,036 | $100,922 | $114,673 |
| Operational Costs | $121,100 | $102,000 | $110,311 |
| Capital Costs |
| $55,000 |
|  | Indirect Costs | $71,028 | $43,251 | $49,969 |
| Lumped Hatchery Costs |
|  | Lumped Third-Party Costs |
|  | Total Hatchery Costs | $313,164 | $246,173 | $274,953 |
| Source of Funds |
|  | Mitchell Act | 100% | 100% | 100% |
|  | Program Production (lb) | 32,961 | 35,633 | 25,730 |
| Total Production (lb) | 173,252 | 174,839 | 166,864 |
| Program as Percent of Total | 19.6% | 20.4% | 17.2% |
| Program Costs | $61,380 | $50,219 | $47,291 |

# Footnotes

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.