FALLERT HATCHERY

A COMPILATION AND SUMMARY OF IHOT AUDITS FOR FALL CHINOOK,  SPRING CHINOOK, AND COHO

JULY 1998

Hatchery Evaluation Report

SUMMARY FOR

Fallert Creek Hatchery

Fall Chinook

Spring Chinook

Coho (S)

A Summarized Compilation of  Independent Audits Based on Integrated Hatchery Operations Team (IHOT) Performance Measures

SUMMARY REPORT PREPARD BY:

DON SAMPSON

SAMPSEL CONSULTING SERVICES

FOR THE

NORTHWEST POWER PLANNING COUNCIL

JULY 1998

Original IHOT Audit Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

March 1997

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary	1

Section 2  Facility Description	5

Section 3  Remedial Actions	7

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries	13

Section 5  Annual Operating Expenditures	16

Section 1

Executive Summary

This report compiles a summary of the findings of three separate Hatchery Evaluation Reports for Fall Chinook, Spring Chinook, and Coho (S) at Fallert Hatchery. The original Hatchery Evaluation Reports, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that will include 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The hatchery is located along the Kalama River, 5 miles north of Kalama, Washington.  The hatchery is operated by the Washington Department of Fish and Wildlife. The hatchery is used for adult collection, egg incubation, and rearing of tule fall chinook and early coho (Type S).  It is also used for the final rearing and release of yearling spring chinook transferred from the Kalama Hatchery.

Background

The audit is being conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT) in January 1995.  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) contracted with Montgomery Watson to act as an independent contractor for the audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995), which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Fallert Creek Hatchery - Fall Chinook, Spring Chinook, and Coho (S) Results

The Fallert Creek facility includes 1 pond for adult holding (also used for rearing), 8 concrete raceways, 1 rearing pond, and incubation facilities.  Fallert Hatchery began operation in 1895 and is one of the oldest hatcheries in the Columbia River Basin.  Facilities operations are funded as part of the Mitchell Act - a program to mitigate for fishery losses caused by hydroelectric system development.  The goal of the hatchery is to produce lower river fall chinook, spring chinook, and coho that will contribute to NE Pacific and Columbia River Basin commercial and sport fisheries.

FALL CHINOOK

The Fallert Creek Hatchery - Fall Chinook program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery needed to document its adult contribution and smolt-to-adult survival.  The audit found that the hatchery was not in compliance with the DO criteria, temperature criteria, water quality monitoring requirements, screening facility requirements, and predation control facilities requirements, pollution control facility requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific incubation and rearing standards for the IHOT Operations Plan and a smoltification goal and monitoring plan.  The hatchery was not meeting the flow and loading criteria for incubation and the density criteria for rearing.  The hatchery was not meeting all the alarm, sanitation, and food storage requirements.  The hatchery needed to collect an unbiased, representative sample of adults and follow the IHOT requirement for 1:1 spawning.  The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Fallert Creek Hatchery - Fall Chinook program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Collect an unbiased, representative sample of adults |
| --- | --- |
| ( | Conduct IHOT QA/QC tests for feed preparation |
| ( | Construct bird netting for 40,300 sf |
| ( | Construct pollution abatement ponds |
| ( | Develop alarm log |
| ( | Develop an approved genetics M&E plan |
| ( | Develop smoltification goal and monitor |
| ( | Develop specific incubation and rearing standards for the IHOT Operations Plan |
| ( | Document adult contribution |
| ( | Document smolt-to-adult survival |
| ( | Follow IHOT loading and flow criteria for incubation or revise criteria |
| ( | Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat |
| ( | Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock |
| ( | Follow the IHOT protocol for 1:1 female:male ratio |
| ( | Heat 210 gpm of incubation water by 3(F; chill 210 gpm of incubation water by 7(F |
| ( | Increase DO by aeration |
| ( | Install alarm at intake |
| ( | Install telephone pagers |
| ( | Modify screens to allow regular cleaning |
| ( | Monitor TGP and record |
| ( | Provide 34,300 cf of additional earthen pond volume |
| ( | Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

SPRING CHINOOK

The Fallert Creek Hatchery - Spring Chinook program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return.  The audit found that the hatchery was not in compliance with the DO criteria, temperature criteria, water quality monitoring requirements, screening facility requirements, and predation control facilities requirements, pollution control facility requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific rearing standards for the IHOT Operations Plan and a smoltification goal and monitoring plan.  The hatchery was not meeting the density and flow criteria for rearing.  The hatchery was not meeting all the alarm, sanitation, and food storage requirements.  The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Fallert Creek Hatchery - Spring Chinook program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Conduct IHOT QA/QC tests for feed preparation |
| --- | --- |
| ( | Construct bird netting for 40,300 sf |
| ( | Construct pollution abatement ponds |
| ( | Develop alarm log |
| ( | Develop an approved genetics M&E plan |
| ( | Develop smoltification goal and monitor |
| ( | Develop specific rearing standards for the IHOT Operations Plan |
| ( | Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat |
| ( | Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock |
| ( | Increase DO by aeration |
| ( | Install alarm at intake |
| ( | Install telephone pagers |
| ( | Modify screens to allow regular cleaning |
| ( | Monitor TGP and record |
| ( | Provide 132,000 cf of additional pond volume |
| ( | Provide additional 750 gpm of water for the dirt pond or change program |
| ( | Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

COHO (S)

The Fallert Creek Hatchery - Coho (Type S) program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery was not meeting its adult return goal and needed to improve its fry-to-smolt survival.  The audit found that the hatchery was not in compliance with the DO criteria, temperature criteria, water quality monitoring requirements, screening facility requirements, and predation control facilities requirements, pollution control facility requirements, and pathology-free water criteria, which are all facilities requirements.  The hatchery needed to develop specific incubation and rearing standards for the IHOT Operations Plan and a smoltification goal and monitoring plan.  The hatchery was not meeting the flow and loading criteria for incubation and density and flow criteria for rearing.  The hatchery was not meeting all the alarm, sanitation, and food storage requirements.  The hatchery needed to collect an unbiased, representative sample of adults and follow the IHOT requirement for 1:1 spawning.  The hatchery did not have a Genetics Monitoring and Evaluation Program.

The specific areas in which the Fallert Creek Hatchery - Coho (Type S) program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Collect an unbiased, representative sample of adults |
| --- | --- |
| ( | Conduct IHOT QA/QC tests for feed preparation |
| ( | Construct bird netting for 40,300 sf |
| ( | Construct pollution abatement ponds |
| ( | Develop alarm log |
| ( | Develop an approved genetics M&E plan |
| ( | Develop smoltification goal and monitor |
| ( | Develop specific incubation and rearing standards for the IHOT Operations Plan |
| ( | Follow IHOT loading and flow criteria for incubation or revise criteria |
| ( | Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat |
| ( | Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock |
| ( | Follow the IHOT protocol for 1:1 female:male ratio |
| ( | Heat 60 gpm of incubation water by 8(F |
| ( | Improve adult returns |
| ( | Improve inventory procedures for fry-to-smolt survival computations |
| ( | Increase DO by aeration |
| ( | Install alarm at intake |
| ( | Install security alarms |
| ( | Install telephone pagers |
| ( | Modify screens to allow regular cleaning |
| ( | Monitor TGP and record |
| ( | Provide 60,000 cf of additional pond volume |
| ( | Provide additional 1,100 gpm of water for the raceways or change program |
| ( | Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Fallert Creek Hatchery |
| --- | --- |
| Stock/Species: |

Spring Chinook

Fall Chinook

Coho (Type S)

| Operating Agency: | Washington Department of Fish and Wildlife |
| --- | --- |
| Funding Agency: | Mitchell Act (NMFS) |
| Location: | The hatchery is located along the Kalama River, 5 miles north of Kalama, Washington. |
| Address: |

1404 Kalama River Road

Kalama, WA  98625

| Hatchery Manager: | Mr. Mark Johnson |
| --- | --- |

Phone:

Fax:

(360)  673-4400

| (360) 673-2995 |
| --- |
| Purpose: | Fallert Hatchery began operation in 1895 and is one of the oldest hatcheries in the Columbia River Basin. Facilities operations are funded as part of the Mitchell Act - a program to mitigate for fishery losses caused by hydroelectric system development. The goal of the hatchery is to produce lower river fall chinook, spring chinook, and coho that will contribute to NE Pacific and Columbia River Basin commercial and sport fisheries. |
| Production Goal: |

Spring Chinook

Produce 500,000 yearlings for on-station release

Fall Chinook

Produce 2,000,000 subyearlings for on-station release

Provide eggs/fish to other facilities

Coho (Type S)

Produce 525,000 yearlings for on-station release

| Provide eggs/fish to other facilities |
| --- |
| Water Supply: | Facility water rights total 15,112 gpm from two sources: Kalama River and Fallert Creek. The hatchery water supply comes from the Kalama River by pumping and from Fallert Creek by gravity flow. |

Facilities:

|  | Adult Holding: | 1 asphalt adult holding pond (also used for rearing) - 55,000 cf |
| --- | --- | --- |
| Incubation: | 28 16-tray stack incubators - 448 trays |
| Early Rearing: | 4 deep troughs |
| Raceways: | 8 concrete raceways - 6,400 cf each |
| Rearing Ponds: |

1 gravel pond - 55,000 cf

| 1 asphalt rearing pond (also used for adult holding) - 55,000 cf |
| --- |
| Satellite Facilities: | None |

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The types of categories range across a spectrum from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at Fallert Creek Hatchery - Fall Chinook, Spring Chinook, and Coho (S)

This section presents the corrective actions required to bring the Fallert Creek Hatchery - Fall Chinook, Spring Chinook, and Coho (S) programs into compliance with IHOT performance measures. The remedial actions described here are suggestions developed by the Montgomery Watson Audit Team. The remedial actions and associated cost estimates have not been analyzed or prioritized by the respective operating agencies, fishery managers, or IHOT.  There may be additional remedial actions, not included in this report, proposed by the respective operating agencies. For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Tables 3a, 3b, and 3c).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

The suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems.  These optional actions are desirable for either operational or safety considerations.

Table 3a.  Remedial Actions Required at Fallert Creek Hatchery - Fall Chinook

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 – Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Install security alarms | ---- | 6 |
| Type 2 – Remedial actions requiring changes in agency policies or procedures |
| Document adult contribution | ---- | 4a |
| Document smolt-to-adult survival | ---- | 4h |
| Develop alarm log | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat | ---- | 12 |
| Develop specific incubation and rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Follow IHOT loading and flow criteria for incubation or revise criteria | ---- | 18 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock | ---- | 28 |
| Collect an unbiased, representative sample of adults | ---- | 41 |
| Follow the IHOT protocol for 1:1 female:male ratio | ---- | 42 |
| Develop an approved genetics M&E plan | ---- | 43 |
| Type 3 – Remedial actions requiring changes in monitoring coverage or interval |
| Monitor TGP and record | ---- | 5b |
| Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Heat 210 gpm of incubation water by 3 (F; chill 210 gpm of incubation water by 7 (F | $180,000 | 5a |
| Increase DO by aeration | $35,000 | 5b |
| Install alarm at intake | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Modify screens to allow regular cleaning | $200,000 | 10 |
| Construct bird netting for 40,300 sf | $60,000 | 11 |
| Construct pollution abatement ponds | $150,000 | 14 |
| Provide 34,300 cf of additional earthen pond volume or decrease production | $75,000 | 19, 22a2 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| None | ---- |

Table 3b.  Remedial Actions Required at Fallert Creek Hatchery - Spring Chinook

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Improve adult returns | ---- | 4g, 4h, 22a4 |
| Install security alarms | ---- | 6 |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Develop alarm log | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat | ---- | 12 |
| Develop specific rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock | ---- | 28 |
| Develop an approved genetics M&E plan | ---- | 43 |
| Type 3 - Remedial actions requiring changes in monitoring coverage or interval |
| Monitor TGP and record | ---- | 5b |
| Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Increase DO by aeration | $35,000 | 5b |
| Install alarm at intake | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Modify screens to allow regular cleaning | $200,000 | 10 |
| Construct bird netting for 40,300 sf | $60,000 | 11 |
| Construct pollution abatement ponds | $150,000 | 14 |
| Provide additional 750 gpm of water for the dirt pond or change program | $20,000 | 19 |
| Provide 132,000 cf of additional pond volume | $200,000 | 19, 22a2 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| None | ---- |

Table 3c.  Remedial Actions Required at Fallert Creek Hatchery - Coho (Type S)

Remedial Action Required

Cost

| PMs |
| --- |
| Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| Improve adult returns | ---- | 4h |
| Install security alarms | ---- | 6 |
| Type 2 - Remedial actions requiring changes in agency policies or procedures |
| Improve inventory procedures for fry-to-smolt survival computations | ---- | 4f |
| Develop alarm log | ---- | 6 |
| Conduct IHOT QA/QC tests for feed preparation | ---- | 12 |
| Follow IHOT protocols for not leaving buckets of feed or feed containers outside exposed to light or heat | ---- | 12 |
| Develop specific incubation and rearing standards for the IHOT Operations Plan | ---- | 18-19 |
| Follow IHOT loading and flow criteria for incubation or revise criteria | ---- | 18 |
| Develop smoltification goal and monitor | ---- | 22a1 |
| Follow IHOT protocols for sanitizing rearing vessels after fish are removed and prior to introducing a new fish lot or stock | ---- | 28 |
| Collect an unbiased, representative sample of adults | ---- | 41 |
| Follow the IHOT protocol for 1:1 female:male ratio | ---- | 42 |
| Develop an approved genetics M&E plan | ---- | 43 |
| Type 3 – Remedial actions requiring changes in monitoring coverage or interval |
| Monitor TGP and record | ---- | 5b |
| Run analysis for water chemistry parameters, turbidity, alkalinity, hardness, nitrite, and contaminants | ---- | 5c-5g |

Remedial Action Required

Cost

| PMs |
| --- |
| Type 4 - Remedial actions requiring significant capital expenditures |
| Heat 60 gpm of incubation water by 8 (F | $40,000 | 5a |
| Increase DO by aeration | $35,000 | 5b |
| Install alarm at intake | $10,000 | 6 |
| Install telephone pagers | $5,000 | 6 |
| Modify screens to allow regular cleaning | $200,000 | 10 |
| Construct bird netting for 40,300 sf | $60,000 | 11 |
| Construct pollution abatement ponds | $50,000 | 14 |
| Provide additional 1,100 gpm of water for the raceways or change program | $30,000 | 19 |
| Provide 60,000 cf of additional pond volume | $75,000 | 19, 22a2 |
| Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time |
| None | ---- |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the Fallert Creek Hatchery - Fall Chinook, Spring Chinook, and Coho (S) programs contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Tables 4a, 4b, and 4c). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4a. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Fallert Creek Hatchery - Fall Chinook

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1981 |
|  | 1982 |
|  | 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 | No data provided | No data provided | No data provided | No data provided | No data provided |
| 1989 | No data provided | No data provided | No data provided | No data provided | No data provided |
| 1990 | No data provided | No data provided | No data provided | No data provided | No data provided |
| 1991 | No data provided | No data provided | No data provided | No data provided | No data provided |
| 1992 |

Table 4b. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Fallert Creek Hatchery - Spring Chinook

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1981 |
|  | 1982 |
|  | 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 | 167 | 69 | 157 | 393 | 0.36 |
| 1990 |
|  | 1991 |
|  | 1992 |

Table 4c. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Fallert Creek Hatchery - Coho (Type S)

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1981 |
|  | 1982 |
|  | 1983 |
|  | 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 | 1,373 | 8 | 447 | 1,828 | 5.94% |
| 1989 | 58 | 0 | 19 | 77 | 0.25% |
| 1990 | 190 | 0 | 96 | 286 | 0.94% |
| 1991 | 10 | 0 | 72 | 82 | 0.26% |
| 1992 |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, and supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program. The total expenditures for the Fallert Creek Hatchery are presented in Table 5 by program.The detailed breakdown of program expenditures for fall chinook, spring chinook, and coho at this hatchery are presented in separate tables (Tables 6a, 6b, and 6c).

Table 5.  Annual Operating Expenses - Fallert Creek Hatchery

| Program | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| 1. Spring Chinook | $101,542 | $106,369 | $133,586 |
| 2. Fall Chinook | $36,901 | $53,076 | $55,661 |
| 3. Coho (Type S) | $54,233 | $52,143 | $87,748 |
| 4. |
|  | 5. |
|  | Total Hatchery Costs | $192,680 | $211,588 | $276,996 |

Table 6a.  Detailed Expenditures at Fallert Creek Hatchery by Program

Spring Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Lumped Third-Party Costs |
|  | Total Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Source of Funds |
|  | NMFS | 100% | 100% | 100% |
|  | Program Production (lb) | 70,647 | 58,800 | 60,000 |
| Total Production (lb) | 134,049 | 116,964 | 124,412 |
| Program as Percent of Total | 52.7% | 50.3% | 48.2% |
| Program Costs | $101,542 | $106,369 | $133,586 |

Table 6b.  Detailed Expenditures at Fallert Creek Hatchery by Program

Fall Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Lumped Third-Party Costs |
|  | Total Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Source of Funds |
|  | NMFS | 100% | 100% | 100% |
|  | Program Production (lb) | 25,672 | 29,340 | 39,412 |
| Total Production (lb) | 134,049 | 116,964 | 124,412 |
| Program as Percent of Total | 19.2% | 25.1% | 20.1% |
| Program Costs | $36,901 | $53,076 | $55,661 |

Table 6c.  Detailed Expenditures at Fallert Creek Hatchery by Program

Coho (Type S)

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Lumped Third-Party Costs |
|  | Total Hatchery Costs | $192,680 | $211,588 | $276,996 |
| Source of Funds |
|  | NMFS | 100% | 100% | 100% |
|  | Program Production (lb) | 37,730 | 28,824 | 25,000 |
| Total Production (lb) | 134,049 | 116,964 | 124,412 |
| Program as Percent of Total | 28.1% | 24.6% | 31.7% |
| Program Costs | $54,233 | $52,143 | $87,748 |

# Footnotes

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

PMs are performance measures that were extracted from the IHOT 1995 report.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.