ringold hatchery

A compilaton and summary of ihot audits for Summer Steelhead and spring chinook

July 1998

Hatchery Evaluation Report

Summary for

Ringold Hatchery

Summer Steelhead

Spring Chinook

A Summarized Compilation of Independents Audits Based on Integrated Hatchery Operations Team (IHOT) Performance Measures

sUMMARY REPORT  PREPARED  BY:

don sampson

sAMPSEL CONSULTING SERVICES

FOR THE

nORTHWEST POWER PLANNING COUNCIL

jULY 1998

Original IHOT Audit Reports Prepared by:

Montgomery Watson

2375 130th Avenue NE

Suite 200

Bellevue, WA  98005

March 1997

BPA Project Number  95-2

Contract Number  95AC49468

Contents

Section 1  Executive Summary	1

Section 2  Facility Description	4

Section 3  Remedial Actions	6

Section 4  Hatchery Contribution to Fisheries, Spawning Grounds and Hatcheries	10

Section 5  Annual Operating Expenditures	12

Section 1

Executive Summary

This report compiles a summary of the findings of two separate Hatchery Evaluation Reports for Summer Steelhead and  Spring Chinook at Ringold Hatchery. The original Hatchery Evaluation Reports, prepared by Montgomery Watson, presented each species and program separately and include the complete findings. Details on the audit compliance status for each species and program are included in the original reports. The Hatchery Evaluation Reports were based upon audits conducted in 1996-1997 as part of a 2-year effort that will include 67 hatcheries and satellite facilities located on the Columbia and Snake River system in Idaho, Oregon, and Washington.  The hatchery operating agencies include the U.S Fish and Wildlife Service, Idaho Department of Fish and Game, Oregon Department of Fish and Wildlife, and Washington Department of Fish and Wildlife.

The hatchery is located on the Columbia River, approximately 17 miles west of Mesa, Washington and is operated by the Washington Department of Fish and Wildlife.  The hatchery is used for adult collection, rearing, acclimation and release of spring chinook; acclimation and release of URB fall chinook; and rearing, acclimation, and release of summer steelhead.

Background

The audit is being conducted as a requirement of the Northwest Power Planning Council (NPPC) “Strategy for Salmon” and the Columbia River Basin Fish and Wildlife Program.  Under the audit, the hatcheries are evaluated against policies and related performance measures developed by the Integrated Hatchery Operations Team (IHOT).  IHOT is a multi-agency group established by the NPPC to direct the development of new basinwide standards for managing and operating fish hatcheries.  The Bonneville Power Administration (BPA) was contracted along with Montgomery Watson to complete the hatchery audit.

IHOT has established five basic policies that cover: (1) hatchery coordination, (2) hatchery performance standards, (3) fish health, (4) ecological interaction, and (5) genetics.  The audit focuses on all these policies, with the exception of hatchery coordination. These policies are set forth in Policies and Procedures for Columbia Basin Anadromous Salmonid Hatcheries (IHOT 1995), which is the source for the performance measures that are the basis of this audit.

The Audit Process

The audit was based on the facility management’s response to a 109-page questionnaire.  This audit form was completed through a five-step process in which:

Information was obtained from headquarters.

The hatchery manager was asked to fill out and return the audit form.

A 1-2 day site audit visit was conducted to inspect facilities, review hatchery records, discuss audit form responses, and develop remedial action plans.

A compliance report was developed to document the compliance status of each performance measure.  This report was then shared with the hatchery manager and IHOT representative.

This hatchery evaluation report was written to document compliance with IHOT performance measures and develop cost estimates for remedial actions when needed.

Ringold Springs Hatchery - Summer Steelhead and Spring Chinook Results

The Ringold Springs Hatchery includes a 9-acre earthen rearing pond and 14 vinyl raceways,  Summer steelhead rearing facilities consist of a 4.8-acre earthen pond.  The facility water supply consists of a gravity-flow, spring supply of approximately 27,000 gpm.  The facility began operation in 1962 as part of the Columbia River Fisheries Development Program, a program to mitigate for fishery losses due to hydroelectric development in the Columbia River basin.  Up River Bright (URB) Fall Chinook are reared and released at Ringold Hatchery, however audit information is not available except for annual operating expenditures (Section 5).

Summer Steelhead

The Ringold Springs Hatchery Summer Steelhead program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery did not meet its fry-to-smolt survival goal as a result of heavy losses of fish to bird predation.  In the area of facility requirements, the audit found that the hatchery was not in compliance with the IHOT criteria for water quality in the areas of dissolved gases, chemistry, alkalinity and hardness, nitrite, and contaminants due to a lack of analyses for these parameters.  The hatchery also did not have alarms at several recommended areas, did not follow IHOT recommendations for the frequency of monitoring alarms, and needs predator control for the large earthen rearing pond.  The facility did also not meet several IHOT recommendations in the area of food storage quality control.  In the area of hatchery practices, the audit found that the hatchery did not have a density and loading criteria for rearing, did not measure smoltification, and did not have written criteria for percent smoltification. The facility also needs to develop several training protocols to be in line with IHOT recommendations.  In the area of genetics policy, the audit found that the hatchery did not have a Genetics Monitoring and Evaluation Program in place, but this program should probably be developed at Skamania Hatchery where the adults are collected.

The specific areas in which the Ringold Spring Hatchery - Summer Steelhead program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

| ( | Adopt IHOT recommendations for monitoring food production |
| --- | --- |
| ( | Conduct appropriate fishery contribution studies |
| ( | Develop a genetics M&E program in line with IHOT policies and procedures |
| ( | Develop density and loading criteria for earthen pond |
| ( | Develop goal for fry-to smolt survival for IHOT Operations Plan |
| ( | Develop goal for smolt-to-adult survival |
| ( | Develop training protocols in line with IHOT recommendations |
| ( | Develop written monitoring and evaluation plan |
| ( | Implement IHOT monitoring schedule for alarm system checks |
| ( | Install appropriate alarms on the intake and rearing pond, improve security at the broodstock collection area |
| ( | Install new discharge pipe for earthen pond to river |
| ( | Measure smoltification and develop written smoltification criteria |
| ( | Provide new food storage unit for dry and moist foods |
| ( | Provide predator control on 4.8-acre pond to increase fry to smolt survival |
| ( | Run analysis for alkalinity and hardness |
| ( | Run analysis for chemistry parameters where no data is available |
| ( | Run analysis for contaminants |
| ( | Run analysis for nitrite |
| ( | Run analysis for TGP |

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Spring Chinook

The Ringold Springs Hatchery - Spring Chinook program was in general compliance with most of the performance measures.  In the area of program objectives, the hatchery did not meet its fry to smolt survival goal as a result of heavy losses of fish to bird predation.  In the area of facility requirements, the audit found that the hatchery was not in compliance with the IHOT criteria for water quality in the areas of dissolved gases, chemistry, alkalinity and hardness, nitrite, and contaminants due to a lack of analyses for these parameters.  The hatchery also did not have alarms at several recommended areas, did not follow IHOT recommendations for the frequency of monitoring alarms, and needs predator control for the large earthen rearing pond.  The facility also did not meet several IHOT recommendations in the area of food storage quality control.  In the area of hatchery practices, the audit found that the hatchery exceeded density criteria for rearing near the end of the rearing cycle, did not measure smoltification or have written criteria for percent smoltification, and did not follow several IHOT protocols regarding transportation.  The facility also needs to develop several training protocols to be in line with IHOT recommendations.  In the area of genetics policy, the audit found that the hatchery did not have a Genetics Monitoring and Evaluation Program in place.

The specific areas in which the Ringold Springs Hatchery - Spring Chinook program requires remedial actions based on the IHOT performance measures are listed below.  These remedial actions are listed in alphabetical order without intent of ranking or otherwise assigning priority:

• Adopt IHOT procedures for transport vehicle disinfection

• Adopt IHOT recommendations for monitoring food production

• Conduct appropriate fishery contribution studies

• Develop a genetics M&E program in line with IHOT policies and procedures

• Develop training protocols in line with IHOT recommendations

• Document adult contribution

• Implement IHOT monitoring schedule for alarm system checks

• Install appropriate alarms on the intake and large rearing ponds, improve security at the broodstock collection area

• Measure smoltification and develop written smoltification criteria

• Provide additional raceway rearing volume

• Provide new food storage unit for dry and moist foods

• Provide predator control on 9-acre pond to increase fry to smolt survival

• Run analysis for alkalinity and hardness

• Run analysis for chemistry parameters where no data is available

• Run analysis for contaminants

• Run analysis for dissolved nitrogen

• Run analysis for nitrite

Non-compliance issues resulting from items beyond human control or Performance Measures not relevant to this hatchery were not listed above.

Section 2

Facility Description

| Name: | Ringold Springs Hatchery |
| --- | --- |
| Stock/Species: |

Spring Chinook

Summer Steelhead

Fall Chinook

| Operating Agency: | Washington Department of Fish and Wildlife |
| --- | --- |
| Funding Agency: | NMFS through the Columbia River Fisheries Development Program |
| Location: | About 17 miles west of Mesa, WA on the Columbia River |
| Address: |

Ringold Springs Hatchery

1871 Ringold River Road

Mesa, WA   99343

| Hatchery Manager: | Mr. Art Brown |
| --- | --- |

Phone:

Fax:

(509) 269-4448

| (509) 269-4408 |
| --- |
| Purpose: | Ringold Springs Hatchery serves as an adult collection, rearing, and release facility for spring chinook, rearing and release for summer steelhead, and final rearing and release for fall chinook. |
| Production Goal: |

Spring Chinook

Produce 1,100,000 smolts

Summer Steelhead

Produce 180,000 smolts

URB Fall Chinook

| Final rearing for 3,500,000 |
| --- |
| Water Supply: | Springs supplying approximately 27,000 gpm |

Facilities:

|  | Adult Holding: | Short-term holding within channel of the trap |
| --- | --- | --- |
| Incubation: | N/A |
| Early Rearing: | N/A |
| Raceways: | 14 8’x 80’ vinyl raceways - 1920 cf each |
| Rearing Ponds: |

1 9-acre earthen rearing pond

| 1 4.8-acre earthen rearing pond |
| --- |
| Satellite Facilities: | N/A |

Section 3

Remedial Actions

Based on the compliance status for each performance measure, remedial actions were developed.  The required remedial actions are organized into five categories.  The categories range from those actions that are beyond human control, to those that require a change in agency policy or procedures, to those that involve a significant capital cost to put in place.  The following are the five types of remedial actions identified under phase 1 of the audit:

Table 2. The Five Types of Remedial Actions

| Type | Description |
| --- | --- |
| 1 | Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery |
| 2 | Remedial actions requiring changes in agency policies or procedures |
| 3 | Remedial actions requiring changes in monitoring coverage or interval |
| 4 | Remedial actions requiring significant capital expenditures |
| 5 | Remedial actions that may require significant capital expenditures but are not clearly definable at this time |

Remedial Actions at Ringold Spring Hatchery -

Summer Steelhead and Spring Chinook

This section presents the corrective actions required to bring the Ringold Spring Hatchery - Summer Steelhead and Spring Chinook programs into compliance with IHOT performance measures. The remedial actions described here are suggestions developed by the Montgomery Watson Audit Team. The remedial actions and associated cost estimates have not been analyzed or prioritized by the respective operating agencies, fishery managers, or IHOT.  There may be additional remedial actions, not included in this report, proposed by the respective operating agencies. For some non-compliance areas, other remedial actions could be proposed. The required remedial actions are cross-referenced to each IHOT performance measure that was not in compliance.  Where appropriate, the costs associated with the remedial actions are also presented (Table 3a and 3b).

The cost estimates presented in this section are based on professional experience from similar projects.  In most cases, only a lump-sum figure is presented, and detailed take-off lists have not been prepared. The cost estimates are essentially order of magnitude estimates (( 40%).

T the suggested remedial activities may also present several levels of action.  Optional actions have been listed for several problems.  These optional actions are desirable for either operational or safety considerations.

Table 3a.  Remedial Actions Required at Ringold Spring Hatchery -

Summer Steelhead

Remedial Action Required

Cost

PMs1

Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery

Provide telephone pagers; however, not a problem for this hatchery because residences are hard-wired to alarm system

|  | --- | 6 |
| --- | --- | --- |

Type 2 - Remedial actions requiring changes in agency policies or procedures

Develop written monitoring and evaluation plan

|  | --- | 3, 34 |
| --- | --- | --- |

Develop goal for fry-to smolt survival for IHOT Operations Plan

|  | --- | 4f |
| --- | --- | --- |

Develop goal for smolt-to-adult survival

4h

Implement IHOT monitoring schedule for alarm system checks

|  | --- | 6 |
| --- | --- | --- |

Adopt IHOT recommendations for monitoring food production

|  | --- | 12 |
| --- | --- | --- |
| Develop density and loading criteria for earthen pond | --- |

19, 22a2, 30, 36

Measure smoltification and develop written smoltification criteria

|  | --- | 22a1, 36 |
| --- | --- | --- |

Develop training protocols in line with IHOT recommendations

|  | --- | 25 |
| --- | --- | --- |

Develop a genetics M&E program in line with IHOT policies and procedures

|  | --- | 43 |
| --- | --- | --- |

Type 3 - Remedial actions requiring changes in monitoring coverage or interval

Run analysis for TGP

|  | --- | 5c, 21, 29 |
| --- | --- | --- |

Run analysis for chemistry parameters where no data is available

|  | --- | 5c, 21, 29 |
| --- | --- | --- |

Run analysis for alkalinity and hardness

|  | --- | 5e, 21, 29 |
| --- | --- | --- |

Run analysis for nitrite

|  | --- | 5f, 21, 29 |
| --- | --- | --- |

Run analysis for contaminants

|  | --- | 5g, 21, 29 |
| --- | --- | --- |

Conduct appropriate fishery contribution studies

|  | --- | 24 |
| --- | --- | --- |

Remedial Action Required

Cost

PMs1

Type 4 - Remedial actions requiring significant capital expenditures

Provide predator control on 4.8-acre pond to increase fry to smolt  survival

|  | $400,000 | 4f, 11 |
| --- | --- | --- |

Install appropriate alarms on the intake and rearing pond, improve security at the broodstock collection area

|  | $20,000 | 6 |
| --- | --- | --- |

Install new discharge pipe for earthen pond to river

|  | $50,000 | 13 |
| --- | --- | --- |

Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time

Provide new food storage unit for dry and moist foods

|  | --- | 12 |
| --- | --- | --- |

Table 3b.  Remedial Actions Required at Ringold Springs Hatchery - Spring Chinook

Remedial Action Required

Cost

PMs1

Type 1 - Non-compliance issues resulting from items beyond human control or Performance Measures not relevant for this hatchery

Provide data on smolt to adult survival as it becomes available

|  | ---- | 4h |
| --- | --- | --- |

Water temperatures do not meet rearing criteria but no remedial action required because of manipulation of feed to manage growth

|  | ---- | 5a |
| --- | --- | --- |

Provide telephone pagers; however, not a problem for this hatchery because residences are hard-wired to alarm system

|  | N/A | 6 |
| --- | --- | --- |

Type 2 - Remedial actions requiring changes in agency policies or procedures

Document adult contribution

|  | ---- | 4a |
| --- | --- | --- |

Implement IHOT monitoring schedule for alarm system checks

|  | ---- | 6 |
| --- | --- | --- |

Adopt IHOT recommendations for monitoring food production

|  | ---- | 12 |
| --- | --- | --- |

Measure smoltification and develop written smoltification criteria

|  | ---- | 22a1, 36 |
| --- | --- | --- |

Adopt IHOT procedures for transport vehicle disinfection and temperature control

|  | ---- | 23 |
| --- | --- | --- |

Develop training protocols in line with IHOT recommendations

|  | ---- | 25 |
| --- | --- | --- |

Develop a genetics M&E program in line with IHOT policies and procedures

|  | ---- | 43 |
| --- | --- | --- |

Type 3 - Remedial actions requiring changes in monitoring coverage or interval

Run analysis for dissolved nitrogen

|  | ---- | 5c, 21, 29 |
| --- | --- | --- |

Run analysis for chemistry parameters where no data is available

|  | ---- | 5c, 21, 29 |
| --- | --- | --- |

Run analysis for alkalinity and hardness

|  | ---- | 5e, 21, 29 |
| --- | --- | --- |

Run analysis for nitrite

|  | ---- | 5f, 21, 29 |
| --- | --- | --- |

Run analysis for contaminants

|  | ---- | 5g, 21, 29 |
| --- | --- | --- |

Conduct appropriate fishery contribution studies

|  | ---- | 24 |
| --- | --- | --- |

Remedial Action Required

Cost

PMs1

Type 4 - Remedial actions requiring significant capital expenditures

Provide predator control on 9-acre pond to increase fry to smolt  survival

|  | $800,000 | 4f, 11 |
| --- | --- | --- |

Install appropriate alarms on the intake and large rearing ponds, improve security at the broodstock collection area

|  | $20,000 | 6 |
| --- | --- | --- |
| Provide additional raceway rearing volume | $205,000 | 9, 19, 21, 30, 36 |

Type 5 - Remedial actions that may require significant capital expenditures but are not clearly definable at this time

| Provide new food storage unit for dry and moist foods | N/A | 12 |
| --- | --- | --- |

Section 4

Hatchery Contribution to

Fisheries, Spawning Grounds, and Hatcheries

This section presents the audit findings for the Ringold Spring Hatchery - Summer Steelhead and Spring Chinook programs contribution of adult fish to fisheries, local fisheries, spawning grounds, and hatcheries (Tables 4a and 4b). Data is reported by broodyear.  A broodyear refers to the adult contribution from the eggs produced from a single group of spawning adults.  For some species, this may include fish caught as 2-, 3-, 4-, 5-, and 6-year old fish.  Because of the return distribution and data processing delays, the complete adult contribution for a given broodyear may not be available until 4 to 5 years after the fish have been released from the hatchery.

Table 4a. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Ringold Spring Hatchery - Summer Steelhead

Year

Fisheries1

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 | 2,267 | no data available | no data available |
| no data available |
| 1985 | 3,928 | no data available | no data available |
| no data available |
| 1986 | 3,680 | no data available | no data available |
| no data available |
| 1987 | 3,578 | no data available | no data available |
| no data available |
| 1988 |
|  | 1989 |
|  | 1990 |
|  | 1991 |
|  | 1992 |
|  | 1993 |
|  | 1994 |
|  | 1995 |

Table 4b. Adult Contribution to Fisheries, Spawning Grounds, and Hatcheries: Ringold Springs Hatchery - Spring Chinook

Year

Fisheries

(Broodyear)

Spawning Grounds1

(Broodyear)

Hatchery1

(Broodyear)

Total Combined Contribution

(Broodyear)

| Smolt to Adult Survival (percent) |
| --- |
| 1984 |
|  | 1985 |
|  | 1986 |
|  | 1987 |
|  | 1988 |
|  | 1989 | 123 | 12 | 41 | 176 | 0.41% |
| 1990 | no data available | no data available | 1,750 | no data available | no data available |
| 1991 | no data available | no data available | 286 | no data available | no data available |
| 1992 | no data available | no data available | 524 | no data available | no data available |
| 1993 | no data available | no data available | 1,620 | no data available | no data available |
| 1994 | no data available | no data available | 524 | no data available | no data available |
| 1995 | no data available | no data available | 286 | no data available | no data available |

Section 5

Annual Operating Expenditures

The level and detail of annual operating expenditures varies widely depending on hatchery, operating agency, and funding source.  When provided, expenditures were presented in terms of personnel costs, operating costs (power, feed, supplies), capital costs, indirect costs charged to the federal government, third-party costs, and other costs.  These cost components were summed to determine a total hatchery annual cost.  Based on discussion with the hatchery manager, the percent of total hatchery costs allocated to a given program was estimated.  The total hatchery costs and the percent of hatchery costs allocated to a given program were used to compute the cost of a given program. The total expenditures for the Ringold Hatchery are presented in Table 5 by program.  The detailed breakdown of the Summer Steelhead and Spring Chinook program expenditures at this hatchery are presented in separate tables (Tables 6a and 6b).

Table 5.  Annual Operating Expenses - Ringold Springs Hatchery

| Program | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| 1. Summer Steelhead | $100,000 | $100,000 | $100,000 |
| 2 . Spring Chinook | $262,225 | $274,376 | $185,645 |
| 3. URB Fall Chinook | $20,000 | $20,000 | $40,000 |
| 4. |
|  | 5. |
|  | Total Hatchery Costs | $382,225 | $394,396 | $325,645 |

Table 6a.  Detailed Expenditures at Ringold Springs Hatchery by Program

Spring Chinook

| Component | 1993 | 1994 | 1995 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs1 | $382,225 | $394,396 | $325,645 |
| Lumped Third-Party Costs | $0 | $0 | $0 |
| Total Hatchery Costs | $382,225 | $394,396 | $325,645 |
| Source of Funds |
|  | NMFS - 100% |
| Program Production (lb) | 1,278,000 | 1,180,000 | 1,025,494 |
| Total Production (lb) | 5,671,139 | 4,873,112 | 4,549,170 |
| Program as Percent of Total | N/A | N/A | N/A |
| Program Costs | $262,225 | $274,376 | $185,645 |

Table 6b.  Detailed Expenditures at Ringold Springs Hatchery by Program

Summer Steelhead

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs1 | $382,225 | $394,396 | $325,645 |
| Lumped Third-Party Costs | $0 | $0 | $0 |
| Total Hatchery Costs | $382,225 | $394,396 | $325,645 |
| Source of Funds |
|  | NMFS - 100% |
| Program Production (lb) | 175,648 | 168,217 | 167,548 |
| Total Production (lb) | 5,671,139 | 4,873,112 | 4,549,170 |
| Program as Percent of Total | N/A | N/A | N/A |
| Program Costs | $100,000 | $100,000 | $100,000 |

Table 6c.  Detailed Expenditures at Ringold Springs Hatchery by Program

Fall Chinook

| Component | 1994 | 1995 | 1996 |
| --- | --- | --- | --- |
| Personnel Costs |
|  | Operational Costs |
|  | Capital Costs |
|  | Indirect Costs |
|  | Lumped Hatchery Costs1 | $382,225 | $394,396 | $325,645 |
| Lumped Third-Party Costs | $0 | $0 | $0 |
| Total Hatchery Costs | $382,225 | $394,396 | $325,645 |
| Source of Funds |
|  | NMFS - 100% |
| Program Production (lb) | 4,217,491 | 3,524,895 | 3,356,128 |
| Total Production (lb) | 5,671,139 | 4,873,112 | 4,549,170 |
| Program as Percent of Total | N/A | N/A | N/A |
| Program Costs | $20,000 | $20,000 | $40,000 |

# Footnotes

1 PMs are performance measures that were extracted from the IHOT 1995 report.

1 PMs are performance measures that were extracted from the IHOT 1995 report.

1 PMs are performance measures that were extracted from the IHOT 1995 report.

1 PMs are performance measures that were extracted from the IHOT 1995 report.

1 Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

Data obtained from Missing Production Groups Annual Report or from the Regional Mark Information System database.

Total combined adult contribution; presented when it is not possible to subdivide the contribution into fisheries, spawning grounds, and hatchery contributions.

1 When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

Percent by weight not appropriate.  Program cost shown is actual for Spring Chinook.

1 When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

Percent by weight not appropriate.  Program cost shown is actual for Summer Steelhead.

1 When it was not possible to obtain a detailed cost breakdown from an agency or third party, the undivided costs were entered here.

Percent by weight not appropriate.  Program cost shown is actual for Fall Chinook.